{"text_format":"1","workbook":"xlsx","n_sheets":9,"sheets":["ConCal","CheatSheet","SiteRules","DeBug","Protocols","SizeImages","weight2Volume","mappings","about"],"not_rendered":{"charts":0,"images":13,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"ConCal","index":0,"n_rows":40,"n_cols":6,"rows_kept":40,"cut":false,"hidden":false,"merged":[[7,4,7,6],[1,3,3,4],[6,2,6,6],[1,5,3,6],[0,0,4,0],[0,5,0,6],[4,5,5,6],[4,3,5,4],[4,1,5,2],[0,1,0,2],[0,3,0,4],[1,1,3,2],[28,0,28,6],[15,0,15,6],[19,1,19,5],[20,0,20,6],[21,0,21,6],[8,4,8,6],[12,3,12,6],[13,4,13,5],[13,2,13,3],[9,4,9,6]]}
[null,"Contrast Volume",null,"Chaser Volume",null,"Injection rate"]
[null,{"$f":"IF(AND(DeBug!A6<=SiteRules!B5,DeBug!A6>=SiteRules!B6),DeBug!A6,IF(DeBug!A6>SiteRules!B5,SiteRules!B5,SiteRules!B6))","v":69},null,{"$f":"VLOOKUP(A8,Protocols!A6:B100,2,FALSE)","v":50},null,{"$f":"IF(AND(DeBug!A10<=SiteRules!B3,DeBug!A10>=SiteRules!B4),DeBug!A10,IF(DeBug!A6>SiteRules!B3,SiteRules!B3,SiteRules!B4))","v":3}]
[]
[]
[null,"ml or cc",null,"ml or cc",null,"ml/s or cc/s"]
[]
["Protocol Name/type [select from list]"]
["Weight Based Routine Adult"]
[null,null,null,null,"Patient Is roughly a"]
["Patient Weight [free text]",null,null,null,{"$f":"IF(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)<11,\"newborn or baby\",\n\nIF(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)<30,\"toddler or child\",\nIF(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)<40,\"teen\",\nIF(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)<50,\"small adult\",\nIF(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)<68,\"average adult\",\nIF(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)<80,\"slightly large adult\",\nIF(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)<94,\"obese adult\",\"very obese adult\")))))))","v":"average adult"}]
[131]
[]
["Concentration (mgI/cc or mgI/ml) [select from list]"]
[350]
[]
["Simple conversion calculations"]
[]
[null,"This volume","at this strength","equals","This volume","at this strength"]
[]
[null,"Conserves total Iodine load"]
["Contrast delivery dynamics section"]
["Use this section to ensure you are not still injecting contrast while scanning"]
["Scan Delay (seconds) [free text]"]
[60]
["Your scan will start ",{"$f":"A24-B27","v":37},"seconds after contrast agent has finished injecting"]
["Your total (contrast + chaser) injection time is ",{"$f":"ROUND(B2/F2+(D2-B28)/F2,0)","v":33},"seconds"]
["You will inject contrast for ",{"$f":"ROUND(B2/F2,0)","v":23},"seconds"]
["We assume ",20,"(ml or cc) of chaser will be used for a test injection"]
["Copyright 2020 University of Wisconsin Department of Radiology, Tim Szczykutowicz Ph.D."]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[446]

{"sheet":"CheatSheet","index":1,"n_rows":20,"n_cols":4,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,null,"If your protocol says to use 300 but you have 350"]
[null,null,"Volume at 300","Volume at 350"]
[null,null,50,{"$f":"ROUND(C5*300/350,0)","v":43}]
[null,null,75,{"$f":"ROUND(C6*300/350,0)","v":64}]
[null,null,100,{"$f":"ROUND(C7*300/350,0)","v":86}]
[null,null,125,{"$f":"ROUND(C8*300/350,0)","v":107}]
[null,null,150,{"$f":"ROUND(C9*300/350,0)","v":129}]
[]
[]
[]
[]
[null,null,"If your protocol says to use 370 but you have 350"]
[null,null,"Volume at 370","Volume at 350"]
[null,null,50,{"$f":"ROUND(C16*370/350,0)","v":53}]
[null,null,75,{"$f":"ROUND(C17*370/350,0)","v":79}]
[null,null,100,{"$f":"ROUND(C18*370/350,0)","v":106}]
[null,null,125,{"$f":"ROUND(C19*370/350,0)","v":132}]
[null,null,150,{"$f":"ROUND(C20*370/350,0)","v":159}]

{"sheet":"SiteRules","index":2,"n_rows":6,"n_cols":4,"rows_kept":6,"cut":false,"hidden":false,"merged":[]}
["Limits for fields"]
[null,null,null,"only edit the spaces inside the gray boxes"]
["max flow rate (ml/s or cc/s)",5.5,null,"these should reflect site specific rules for all protocols"]
["min flow rate (ml/s or cc/s)",0.5]
["max contrast volume (ml or cc)",150]
["min contrast volume (ml or cc)",5]

{"sheet":"DeBug","index":3,"n_rows":25,"n_cols":13,"rows_kept":25,"cut":false,"hidden":false,"merged":[]}
[]
[]
["calculations tab",null,null,null,null,null,null,null,null,null,null,{"$f":"VLOOKUP(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),INDIRECT(VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),{2,3},TRUE)","v":80.287300000000002},{"$f":"VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:E102,{4,5},FALSE)","v":0}]
[]
["volume we calculate (may not actually be displayed based on user siterules",null,null,null,null,null,null,null,null,null,null,{"$f":"_xlfn.FORECAST.LINEAR(ConCal!E14,VLOOKUP(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),INDIRECT(VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),{2,3},TRUE),VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:E102,{4,5},FALSE))","v":{"$error":"#REF!"}}]
[{"$f":"IF(VLOOKUP(ConCal!A8,Protocols!A6:D100,4,FALSE)=1,\n\nROUND(IF(ConCal!E14>=VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:D102,4,FALSE),VLOOKUP(ROUND(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),1),INDIRECT(VLOOKUP(VLOOKUP(ConCal!A8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),2,TRUE)/ConCal!A14*VLOOKUP(VLOOKUP(ConCal!A8,mappings!H3:I102,2,FALSE),mappings!A3:C102,3,FALSE),IF(ConCal!E14<=VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:E102,5,FALSE),VLOOKUP(ROUND(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),1),INDIRECT(VLOOKUP(VLOOKUP(ConCal!A8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),3,TRUE)/ConCal!A14*VLOOKUP(VLOOKUP(ConCal!A8,mappings!H3:I102,2,FALSE),mappings!A3:C102,3,FALSE),_xlfn.FORECAST.LINEAR(ConCal!E14,VLOOKUP(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),INDIRECT(VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),{2,3},TRUE),VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:E102,{4,5},FALSE)))),0),\n\nROUND(VLOOKUP(ROUND(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),1),INDIRECT(VLOOKUP(VLOOKUP(ConCal!A8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),2,TRUE)/ConCal!A14*VLOOKUP(VLOOKUP(ConCal!A8,mappings!H3:I102,2,FALSE),mappings!A3:C102,3,FALSE),0))","v":69}]
[]
[]
["flow rate we calculate (may not actually be displayed based on user siterules"]
[{"$f":"IF(VLOOKUP(ConCal!A8,Protocols!A6:D100,4,FALSE)=1,\n\nROUND(IF(ConCal!B2/ConCal!E14<VLOOKUP(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),INDIRECT(VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),4,TRUE),ConCal!B2/ConCal!E14,VLOOKUP(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),INDIRECT(VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),4,TRUE)),1),\n\nIF(VLOOKUP(ConCal!A8,Protocols!A6:E100,5,FALSE)=3,VLOOKUP(IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592),INDIRECT(VLOOKUP(VLOOKUP(ConCal!$A$8,mappings!H3:I102,2,FALSE),mappings!A3:B102,2,FALSE)),3,TRUE),VLOOKUP(ConCal!$A$8,Protocols!A6:C100,3,FALSE)))","v":3}]
[]
["this cell below is where the radio buttons link to, 1 is lbs, 2 is kg"]
[1]
[]
[]
[]
["the cell below is 1 when the protocol selected is an angio protocol"]
[{"$f":"VLOOKUP(ConCal!A8,Protocols!A6:D100,4,FALSE)","v":0}]
[]
[]
["this is where the \"special flag\" output goes"]
[{"$f":"VLOOKUP(ConCal!A8,Protocols!A6:E100,5,FALSE)","v":1}]
[]
["patient weight in kg"]
[{"$f":"IF(DeBug!A13=2,ConCal!A11,ConCal!A11*0.453592)","v":59.420552000000001}]

{"sheet":"Protocols","index":4,"n_rows":9,"n_cols":9,"rows_kept":9,"cut":false,"hidden":false,"merged":[[3,0,3,3],[0,0,2,4]]}
["Special flags: 1= a protocol that needs to have the default wieght choice moved to lbs, 2 = a protocol that needs to have the default weight choice moved to kg, 3 = a protocol that has changing flow rate with weight but is not a angio protocol"]
[]
[]
["all of these parms go together",null,null,null,null,null,null,null,"this list just populates the choices for IV constrast strength, values here have NO correspondence with the left side of this sheet"]
["Names of protocols and protocol types (up to 100)","Chaser amount for saline (cc or ml)","Default Flow Rate (ml/s or cc/s)\n(blank if angio flag is 1)","Angio protocol?","special flags",null,null,null,"Contrast Strength"]
["Weight Based Routine Adult",50,3,null,1,null,null,null,300]
["Weight Based Routine Ped",30,1.5,null,2,null,null,null,320]
["Weight Based Angio",60,null,1,1,null,null,null,350]
["U Washington Abdomen",50,null,null,3,null,null,null,370]

{"sheet":"SizeImages","index":5,"n_rows":8,"n_cols":6,"rows_kept":8,"cut":false,"hidden":false,"merged":[]}
["newborn or baby",null,null,null,null,{"$f":"IFS(IF(A33=2,C8,C8*0.453592)<20,\"newborn or baby\",IF(A33=2,C8,C8*0.453592)<40,\"toddler or child\",IF(A33=2,C8,C8*0.453592)<80,\"teen\",IF(A33=2,C8,C8*0.453592)<100,\"small adult\",IF(A33=2,C8,C8*0.453592)<120,\"average adult\",IF(A33=2,C8,C8*0.453592)<150,\"slightly large adult\",IF(A33=2,C8,C8*0.453592)<200,\"obese adult\",IF(A33=2,C8,C8*0.453592)<250,\"very obese adult\")","v":{"$error":"#NAME?"}}]
["toddler or child"]
["teen"]
["small adult"]
["average adult"]
["slightly large adult"]
["obese adult"]
["very obese adult"]

{"sheet":"weight2Volume","index":6,"n_rows":425,"n_cols":25,"rows_kept":425,"cut":false,"hidden":false,"merged":[[5,4,5,6]]}
[]
[]
["Here we list tables of weight (kg and lbs ) to contrast volume in mg I /cc"]
["We anticipate we can have more than one protocol name/type using the same look up table, so use the tab labelled \"mapping\" to map protocol names/types to LUT ranges"]
[]
[null,null,null,null,"LUT 2 (uses 2 ml/kg 0-40, 80 40-65 than p3t above 65kg)",null,null,null,"LUT 3",null,null,null,"LUT 4 (based on p3ta <88 lbs, 350 conc)",null,null,null,null,"LUT5 (uwash body) at 350 conc"]
[null,null,null,null,"lbs","kg","volume",null,"kg","volume",null,"lbs","kg","max volume","min volume","rate max",null,"lbs","kg","volume ","rate"]
[null,null,null,null,0,{"$f":"E8*0.453592","v":0},{"$f":"2*F8","v":0},null,0,100,null,0,{"$f":"L8*0.453592","v":0},57,46,3.6,null,0,{"$f":"R8*0.453592","v":0},100,2]
[null,null,null,null,1,0.453592,{"$f":"2*F9","v":0.90718399999999999},null,1,100,null,1,{"$f":"L9*0.453592","v":0.453592},57,46,3.6,null,1,{"$f":"R9*0.453592","v":0.453592},100,2]
[null,null,null,null,2,0.90718399999999999,1.814368,null,2,100,null,2,0.90718399999999999,57,46,3.6,null,2,0.90718399999999999,100,2]
[null,null,null,null,3,1.360776,2.721552,null,3,100,null,3,1.360776,57,46,3.6,null,3,1.360776,100,2]
[null,null,null,null,4,1.814368,3.628736,null,4,100,null,4,1.814368,57,46,3.6,null,4,1.814368,100,2]
[null,null,null,null,5,2.26796,4.53592,null,5,100,null,5,2.26796,57,46,3.6,null,5,2.26796,100,2]
[null,null,null,null,6,2.721552,5.4431039999999999,null,6,100,null,6,2.721552,57,46,3.6,null,6,2.721552,100,2]
[null,null,null,null,7,3.175144,6.3502879999999999,null,7,100,null,7,3.175144,57,46,3.6,null,7,3.175144,100,2]
[null,null,null,null,8,3.628736,7.2574719999999999,null,8,100,null,8,3.628736,57,46,3.6,null,8,3.628736,100,2]
[null,null,null,null,9,4.0823280000000004,8.1646560000000008,null,9,100,null,9,4.0823280000000004,57,46,3.6,null,9,4.0823280000000004,100,2]
[null,null,null,null,10,4.53592,9.0718399999999999,null,10,100,null,10,4.53592,57,46,3.6,null,10,4.53592,100,2]
[null,null,null,null,11,4.9895119999999995,9.979023999999999,null,11,100,null,11,4.9895119999999995,57,46,3.6,null,11,4.9895119999999995,100,2]
[null,null,null,null,12,5.4431039999999999,10.886208,null,12,100,null,12,5.4431039999999999,57,46,3.6,null,12,5.4431039999999999,100,2]
[null,null,null,null,13,5.8966960000000004,11.793392000000001,null,13,100,null,13,5.8966960000000004,57,46,3.6,null,13,5.8966960000000004,100,2]
[null,null,null,null,14,6.3502879999999999,12.700576,null,14,100,null,14,6.3502879999999999,57,46,3.6,null,14,6.3502879999999999,100,2]
[null,null,null,null,15,6.8038799999999995,13.607759999999999,null,15,100,null,15,6.8038799999999995,57,46,3.6,null,15,6.8038799999999995,100,2]
["LUT 1","(from med rad p3t, 300 conc)",null,null,16,7.2574719999999999,14.514944,null,16,100,null,16,7.2574719999999999,57,46,3.6,null,16,7.2574719999999999,100,2]
[0,{"$f":"A25*0.453592","v":0},80,null,17,7.7110640000000004,15.422128000000001,null,17,100,null,17,7.7110640000000004,57,46,3.6,null,17,7.7110640000000004,100,2]
[1,{"$f":"A26*0.453592","v":0.453592},80,null,18,8.1646560000000008,16.329312000000002,null,18,100,null,18,8.1646560000000008,57,46,3.6,null,18,8.1646560000000008,100,2]
[2,0.90718399999999999,80,null,19,8.6182479999999995,17.236495999999999,null,19,100,null,19,8.6182479999999995,57,46,3.6,null,19,8.6182479999999995,100,2]
[3,1.360776,80,null,20,9.0718399999999999,18.14368,null,20,100,null,20,9.0718399999999999,57,46,3.6,null,20,9.0718399999999999,100,2]
[4,1.814368,80,null,21,9.5254320000000003,19.050864000000001,null,21,100,null,21,9.5254320000000003,57,46,3.6,null,21,9.5254320000000003,100,2]
[5,2.26796,80,null,22,9.979023999999999,19.958047999999998,null,22,100,null,22,9.979023999999999,57,46,3.6,null,22,9.979023999999999,100,2]
[6,2.721552,80,null,23,10.432615999999999,20.865231999999999,null,23,100,null,23,10.432615999999999,57,46,3.6,null,23,10.432615999999999,100,2]
[7,3.175144,80,null,24,10.886208,21.772416,null,24,100,null,24,10.886208,57,46,3.6,null,24,10.886208,100,2]
[8,3.628736,80,null,25,11.3398,22.679600000000001,null,25,100,null,25,11.3398,57,46,3.6,null,25,11.3398,100,2]
[9,4.0823280000000004,80,null,26,11.793392000000001,23.586784000000002,null,26,100,null,26,11.793392000000001,57,46,3.6,null,26,11.793392000000001,100,2]
[10,4.53592,80,null,27,12.246983999999999,24.493967999999999,null,27,100,null,27,12.246983999999999,57,46,3.6,null,27,12.246983999999999,100,2]
[11,4.9895119999999995,80,null,28,12.700576,25.401152,null,28,100,null,28,12.700576,57,46,3.6,null,28,12.700576,100,2]
[12,5.4431039999999999,80,null,29,13.154168,26.308336000000001,null,29,100,null,29,13.154168,57,46,3.6,null,29,13.154168,100,2]
[13,5.8966960000000004,80,null,30,13.607759999999999,27.215519999999998,null,30,100,null,30,13.607759999999999,57,46,3.6,null,30,13.607759999999999,100,2]
[14,6.3502879999999999,80,null,31,14.061351999999999,28.122703999999999,null,31,100,null,31,14.061351999999999,57,46,3.6,null,31,14.061351999999999,100,2]
[15,6.8038799999999995,80,null,32,14.514944,29.029888,null,32,100,null,32,14.514944,57,46,3.6,null,32,14.514944,100,2]
[16,7.2574719999999999,80,null,33,14.968536,29.937072000000001,null,33,100,null,33,14.968536,57,46,3.6,null,33,14.968536,100,2]
[17,7.7110640000000004,80,null,34,15.422128000000001,30.844256000000001,null,34,100,null,34,15.422128000000001,57,46,3.6,null,34,15.422128000000001,100,2]
[18,8.1646560000000008,80,null,35,15.875719999999999,31.751439999999999,null,35,100,null,35,15.875719999999999,57,46,3.6,null,35,15.875719999999999,100,2]
[19,8.6182479999999995,80,null,36,16.329312000000002,32.658624000000003,null,36,100,null,36,16.329312000000002,57,46,3.6,null,36,16.329312000000002,100,2]
[20,9.0718399999999999,80,null,37,16.782903999999998,33.565807999999997,null,37,100,null,37,16.782903999999998,57,46,3.6,null,37,16.782903999999998,100,2]
[21,9.5254320000000003,80,null,38,17.236495999999999,34.472991999999998,null,38,100,null,38,17.236495999999999,57,46,3.6,null,38,17.236495999999999,100,2]
[22,9.979023999999999,80,null,39,17.690087999999999,35.380175999999999,null,39,100,null,39,17.690087999999999,57,46,3.6,null,39,17.690087999999999,100,2]
[23,10.432615999999999,80,null,40,18.14368,36.28736,null,40,100,null,40,18.14368,57,46,3.6,null,40,18.14368,100,2]
[24,10.886208,80,null,41,18.597272,37.194544,null,41,100,null,41,18.597272,57,46,3.6,null,41,18.597272,100,2]
[25,11.3398,80,null,42,19.050864000000001,38.101728000000001,null,42,100,null,42,19.050864000000001,57,46,3.6,null,42,19.050864000000001,100,2]
[26,11.793392000000001,80,null,43,19.504456000000001,39.008912000000002,null,43,100,null,43,19.504456000000001,57,46,3.6,null,43,19.504456000000001,100,2]
[27,12.246983999999999,80,null,44,19.958047999999998,39.916095999999996,null,44,100,null,44,19.958047999999998,57,46,3.6,null,44,19.958047999999998,100,2]
[28,12.700576,80,null,45,20.411639999999998,40.823279999999997,null,45,100,null,45,20.411639999999998,57,46,3.6,null,45,20.411639999999998,100,2]
[29,13.154168,80,null,46,20.865231999999999,41.730463999999998,null,46,100,null,46,20.865231999999999,57,46,3.6,null,46,20.865231999999999,100,2]
[30,13.607759999999999,80,null,47,21.318823999999999,42.637647999999999,null,47,100,null,47,21.318823999999999,57,46,3.6,null,47,21.318823999999999,100,2]
[31,14.061351999999999,80,null,48,21.772416,43.544832,null,48,100,null,48,21.772416,57,46,3.6,null,48,21.772416,100,2]
[32,14.514944,80,null,49,22.226008,44.452016,null,49,100,null,49,22.226008,57,46,3.6,null,49,22.226008,100,2]
[33,14.968536,80,null,50,22.679600000000001,45.359200000000001,null,50,100,null,50,22.679600000000001,57,46,3.6,null,50,22.679600000000001,100,2]
[34,15.422128000000001,80,null,51,23.133192000000001,46.266384000000002,null,51,100,null,51,23.133192000000001,57,46,3.6,null,51,23.133192000000001,100,2]
[35,15.875719999999999,80,null,52,23.586784000000002,47.173568000000003,null,52,100,null,52,23.586784000000002,57,46,3.6,null,52,23.586784000000002,100,2]
[36,16.329312000000002,80,null,53,24.040375999999998,48.080751999999997,null,53,100,null,53,24.040375999999998,57,46,3.6,null,53,24.040375999999998,100,2]
[37,16.782903999999998,80,null,54,24.493967999999999,48.987935999999998,null,54,100,null,54,24.493967999999999,57,46,3.6,null,54,24.493967999999999,100,2]
[38,17.236495999999999,80,null,55,24.947559999999999,49.895119999999999,null,55,100,null,55,24.947559999999999,57,46,3.6,null,55,24.947559999999999,100,2]
[39,17.690087999999999,80,null,56,25.401152,50.802303999999999,null,56,100,null,56,25.401152,57,46,3.6,null,56,25.401152,100,2]
[40,18.14368,80,null,57,25.854744,51.709488,null,57,100,null,57,25.854744,57,46,3.6,null,57,25.854744,100,2]
[41,18.597272,80,null,58,26.308336000000001,52.616672000000001,null,58,100,null,58,26.308336000000001,57,46,3.6,null,58,26.308336000000001,100,2]
[42,19.050864000000001,80,null,59,26.761928000000001,53.523856000000002,null,59,100,null,59,26.761928000000001,57,46,3.6,null,59,26.761928000000001,100,2]
[43,19.504456000000001,80,null,60,27.215519999999998,54.431039999999996,null,60,100,null,60,27.215519999999998,57,46,3.6,null,60,27.215519999999998,100,2]
[44,19.958047999999998,80,null,61,27.669111999999998,55.338223999999997,null,61,100,null,61,27.669111999999998,57,46,3.6,null,61,27.669111999999998,100,2]
[45,20.411639999999998,80,null,62,28.122703999999999,56.245407999999998,null,62,100,null,62,28.122703999999999,57,46,3.6,null,62,28.122703999999999,100,2]
[46,20.865231999999999,80,null,63,28.576295999999999,57.152591999999999,null,63,100,null,63,28.576295999999999,57,46,3.6,null,63,28.576295999999999,100,2]
[47,21.318823999999999,80,null,64,{"$f":"E72*0.453592","v":29.029888},58.059775999999999,null,64,100,null,64,29.029888,57,46,3.6,null,64,29.029888,100,2]
[48,21.772416,80,null,65,29.48348,{"$f":"2*F73","v":58.96696},null,65,100,null,65,{"$f":"L73*0.453592","v":29.48348},57,46,3.6,null,65,{"$f":"R73*0.453592","v":29.48348},100,2]
[49,22.226008,80,null,66,29.937072000000001,59.874144000000001,null,66,100,null,66,29.937072000000001,57,46,3.6,null,66,29.937072000000001,100,2]
[50,22.679600000000001,80,null,67,30.390664000000001,60.781328000000002,null,67,100,null,67,30.390664000000001,57,46,3.6,null,67,30.390664000000001,100,2]
[51,23.133192000000001,80,null,68,30.844256000000001,61.688512000000003,null,68,100,null,68,30.844256000000001,57,46,3.6,null,68,30.844256000000001,100,2]
[52,23.586784000000002,80,null,69,31.297847999999998,62.595695999999997,null,69,125,null,69,31.297847999999998,57,46,3.6,null,69,31.297847999999998,100,2]
[53,24.040375999999998,80,null,70,31.751439999999999,63.502879999999998,null,70,125,null,70,31.751439999999999,57,46,3.6,null,70,31.751439999999999,100,2]
[54,24.493967999999999,80,null,71,32.205032000000003,64.410064000000006,null,71,125,null,71,32.205032000000003,57,46,3.6,null,71,32.205032000000003,100,2]
[55,24.947559999999999,80,null,72,32.658624000000003,65.317248000000006,null,72,125,null,72,32.658624000000003,57,46,3.6,null,72,32.658624000000003,100,2]
[56,25.401152,80,null,73,33.112215999999997,66.224431999999993,null,73,125,null,73,33.112215999999997,57,46,3.6,null,73,33.112215999999997,100,2]
[57,25.854744,80,null,74,33.565807999999997,67.131615999999994,null,74,125,null,74,33.565807999999997,57,46,3.6,null,74,33.565807999999997,100,2]
[58,26.308336000000001,80,null,75,34.019399999999997,68.038799999999995,null,75,125,null,75,34.019399999999997,57,46,3.6,null,75,34.019399999999997,100,2]
[59,26.761928000000001,80,null,76,34.472991999999998,68.945983999999996,null,76,125,null,76,34.472991999999998,57,46,3.6,null,76,34.472991999999998,100,2]
[60,27.215519999999998,80,null,77,34.926583999999998,69.853167999999997,null,77,125,null,77,34.926583999999998,57,46,3.6,null,77,34.926583999999998,100,2]
[61,27.669111999999998,80,null,78,35.380175999999999,70.760351999999997,null,78,125,null,78,35.380175999999999,57,46,3.6,null,78,35.380175999999999,100,2]
[62,28.122703999999999,80,null,79,35.833767999999999,71.667535999999998,null,79,125,null,79,35.833767999999999,57,46,3.6,null,79,35.833767999999999,100,2]
[63,28.576295999999999,80,null,80,36.28736,72.574719999999999,null,80,125,null,80,36.28736,57,46,3.6,null,80,36.28736,100,2]
[64,29.029888,80,null,81,36.740952,73.481904,null,81,125,null,81,36.740952,57,46,3.6,null,81,36.740952,100,2]
[65,{"$f":"A90*0.453592","v":29.48348},80,null,82,37.194544,74.389088000000001,null,82,125,null,82,37.194544,57,46,3.6,null,82,37.194544,100,2]
[66,29.937072000000001,80,null,83,37.648136000000001,75.296272000000002,null,83,125,null,83,37.648136000000001,57,{"$f":"0.2154*L91+28.265","v":46.1432},{"$f":"0.0161*L91+2.2764","v":3.6127000000000002},null,83,37.648136000000001,100,2]
[67,30.390664000000001,80,null,84,38.101728000000001,76.203456000000003,null,84,125,null,84,38.101728000000001,{"$f":"0.2648*L92+34.979","v":57.222200000000001},46.358600000000003,3.6288,null,84,38.101728000000001,100,2]
[68,30.844256000000001,80,null,85,38.555320000000002,77.110640000000004,null,85,125,null,85,38.555320000000002,57.486999999999995,46.573999999999998,3.6449000000000003,null,85,38.555320000000002,100,2]
[69,31.297847999999998,80,null,86,39.008912000000002,78.017824000000005,null,86,125,null,86,39.008912000000002,57.751799999999996,46.789400000000001,3.6610000000000005,null,86,39.008912000000002,100,2]
[70,31.751439999999999,80,null,87,39.462504000000003,78.925008000000005,null,87,125,null,87,39.462504000000003,58.016599999999997,47.004800000000003,3.6771000000000003,null,87,39.462504000000003,100,2]
[71,32.205032000000003,80,null,88,39.916095999999996,79.832191999999992,null,88,125,null,88,39.916095999999996,58.281399999999998,47.220200000000006,3.6932,null,88,39.916095999999996,100,2]
[72,32.658624000000003,80,null,89,40.369687999999996,80,null,89,125,null,89,40.369687999999996,58.546199999999999,47.435600000000001,3.7093000000000003,null,89,40.369687999999996,100,2]
[73,33.112215999999997,80,null,90,40.823279999999997,80,null,90,125,null,90,40.823279999999997,58.810999999999993,47.650999999999996,3.7254000000000005,null,90,40.823279999999997,100,2]
[74,33.565807999999997,80,null,91,41.276871999999997,80,null,91,125,null,91,41.276871999999997,59.075800000000001,47.866399999999999,3.7415000000000003,null,91,41.276871999999997,100,2]
[75,34.019399999999997,80,null,92,41.730463999999998,80,null,92,150,null,92,41.730463999999998,59.340599999999995,48.081800000000001,3.7576000000000001,null,92,41.730463999999998,100,2]
[76,34.472991999999998,80,null,93,42.184055999999998,80,null,93,150,null,93,42.184055999999998,59.605399999999996,48.297200000000004,3.7737000000000003,null,93,42.184055999999998,100,2]
[77,34.926583999999998,80,null,94,42.637647999999999,80,null,94,150,null,94,42.637647999999999,59.870199999999997,48.512600000000006,3.7898000000000005,null,94,42.637647999999999,100,2]
[78,35.380175999999999,80,null,95,43.091239999999999,80,null,95,150,null,95,43.091239999999999,60.134999999999998,48.728000000000002,3.8059000000000003,null,95,43.091239999999999,100,2]
[79,35.833767999999999,80,null,96,43.544832,80,null,96,150,null,96,43.544832,60.399799999999999,48.943399999999997,3.8220000000000001,null,96,43.544832,100,2]
[80,36.28736,80,null,97,43.998424,80,null,97,150,null,97,43.998424,60.664599999999993,49.158799999999999,3.8380999999999998,null,97,43.998424,100,2]
[81,36.740952,80,null,98,44.452016,80,null,98,150,null,98,44.452016,60.929400000000001,49.374200000000002,3.8542000000000001,null,98,44.452016,100,2]
[82,37.194544,80,null,99,44.905608000000001,80,null,99,150,null,99,44.905608000000001,61.194199999999995,49.589600000000004,3.8703000000000003,null,99,44.905608000000001,100,2]
[83,37.648136000000001,80,null,100,45.359200000000001,80,null,100,150,null,100,45.359200000000001,61.458999999999996,49.805,3.8864000000000001,null,100,45.359200000000001,100,2]
[84,38.101728000000001,80,null,101,45.812792000000002,80,null,101,150,null,101,45.812792000000002,61.723799999999997,50.020400000000002,3.9024999999999999,null,101,45.812792000000002,100,2]
[85,38.555320000000002,80,null,102,46.266384000000002,80,null,102,150,null,102,46.266384000000002,61.988599999999998,50.235799999999998,3.9186000000000001,null,102,46.266384000000002,100,2]
[86,39.008912000000002,80,null,103,46.719976000000003,80,null,103,150,null,103,46.719976000000003,62.253399999999999,50.4512,3.9347000000000003,null,103,46.719976000000003,100,2]
[87,39.462504000000003,80,null,104,47.173568000000003,80,null,104,150,null,104,47.173568000000003,62.518199999999993,50.666600000000003,3.9508000000000001,null,104,47.173568000000003,100,2]
[88,39.916095999999996,80,null,105,47.627159999999996,80,null,105,150,null,105,47.627159999999996,62.783000000000001,50.882000000000005,3.9668999999999999,null,105,47.627159999999996,100,2]
[89,40.369687999999996,80,null,106,48.080751999999997,80,null,106,150,null,106,48.080751999999997,63.047799999999995,51.0974,3.9830000000000001,null,106,48.080751999999997,100,2]
[90,40.823279999999997,80,null,107,48.534343999999997,80,null,107,150,null,107,48.534343999999997,63.312599999999996,51.312800000000003,3.9991000000000003,null,107,48.534343999999997,100,2]
[91,41.276871999999997,80,null,108,48.987935999999998,80,null,108,150,null,108,48.987935999999998,63.577399999999997,51.528199999999998,4.0152000000000001,null,108,48.987935999999998,100,2]
[92,41.730463999999998,80,null,109,49.441527999999998,80,null,109,150,null,109,49.441527999999998,63.842199999999998,51.743600000000001,4.0312999999999999,null,109,49.441527999999998,100,2]
[93,42.184055999999998,80,null,110,49.895119999999999,80,null,110,150,null,110,49.895119999999999,64.106999999999999,51.959000000000003,4.0473999999999997,null,110,49.895119999999999,100,2]
[94,42.637647999999999,80,null,111,50.348711999999999,80,null,111,150,null,111,50.348711999999999,64.371799999999993,52.174400000000006,4.0635000000000003,null,111,50.348711999999999,100,2]
[95,43.091239999999999,80,null,112,50.802303999999999,80,null,112,150,null,112,50.802303999999999,64.636600000000001,52.389800000000001,4.0796000000000001,null,112,50.802303999999999,100,2]
[96,43.544832,80,null,113,51.255896,80,null,113,150,null,113,51.255896,64.901399999999995,52.605199999999996,4.0956999999999999,null,113,51.255896,100,2]
[97,43.998424,80,null,114,51.709488,80,null,114,150,null,114,51.709488,65.166200000000003,52.820599999999999,4.1118000000000006,null,114,51.709488,100,2]
[98,44.452016,80,null,115,52.163080000000001,80,null,115,150,null,115,52.163080000000001,65.430999999999997,53.036000000000001,4.1279000000000003,null,115,52.163080000000001,100,2]
[99,44.905608000000001,80,null,116,52.616672000000001,80,null,116,150,null,116,52.616672000000001,65.695799999999991,53.251400000000004,4.1440000000000001,null,116,52.616672000000001,100,2]
[100,45.359200000000001,80,null,117,53.070264000000002,80,null,117,150,null,117,53.070264000000002,65.960599999999999,53.466800000000006,4.1600999999999999,null,117,53.070264000000002,100,2]
[101,45.812792000000002,80,null,118,53.523856000000002,80,null,118,150,null,118,53.523856000000002,66.225399999999993,53.682200000000002,4.1761999999999997,null,118,53.523856000000002,100,2]
[102,46.266384000000002,80,null,119,53.977448000000003,80,null,119,150,null,119,53.977448000000003,66.490200000000002,53.897599999999997,4.1923000000000004,null,119,53.977448000000003,100,2]
[103,46.719976000000003,80,null,120,54.431039999999996,80,null,120,150,null,120,54.431039999999996,66.754999999999995,54.113,4.2084000000000001,null,120,54.431039999999996,100,2]
[104,47.173568000000003,80,null,121,54.884631999999996,80,null,121,150,null,121,54.884631999999996,67.019800000000004,54.328400000000002,4.2244999999999999,null,121,54.884631999999996,110,2.5]
[105,47.627159999999996,80,null,122,55.338223999999997,80,null,122,150,null,122,55.338223999999997,67.284599999999998,54.543800000000005,4.2406000000000006,null,122,55.338223999999997,110,2.5]
[106,48.080751999999997,80,null,123,55.791815999999997,80,null,123,150,null,123,55.791815999999997,67.549399999999991,54.7592,4.2567000000000004,null,123,55.791815999999997,110,2.5]
[107,48.534343999999997,80,null,124,56.245407999999998,80,null,124,150,null,124,56.245407999999998,67.8142,54.974600000000002,4.2728000000000002,null,124,56.245407999999998,110,2.5]
[108,48.987935999999998,80,null,125,56.698999999999998,80,null,125,150,null,125,56.698999999999998,68.078999999999994,55.19,4.2888999999999999,null,125,56.698999999999998,110,2.5]
[109,49.441527999999998,80,null,126,57.152591999999999,80,null,126,150,null,126,57.152591999999999,68.343799999999987,55.4054,4.3049999999999997,null,126,57.152591999999999,110,2.5]
[110,49.895119999999999,80,null,127,57.606183999999999,80,null,127,150,null,127,57.606183999999999,68.608599999999996,55.620800000000003,4.3211000000000004,null,127,57.606183999999999,110,2.5]
[111,50.348711999999999,80,null,128,{"$f":"E136*0.453592","v":58.059775999999999},80,null,128,150,null,128,58.059775999999999,68.873400000000004,55.836200000000005,4.3372000000000002,null,128,58.059775999999999,110,2.5]
[112,50.802303999999999,80,null,129,58.513368,80,null,129,150,null,129,{"$f":"L137*0.453592","v":58.513368},{"$f":"0.2648*L137+34.979","v":69.138199999999998},{"$f":"0.2154*L137+28.265","v":56.051600000000001},{"$f":"0.0161*L137+2.2764","v":4.3532999999999999},null,129,{"$f":"R137*0.453592","v":58.513368},110,2.5]
[113,51.255896,80,null,130,58.96696,80,null,130,150,null,130,58.96696,69.402999999999992,56.267000000000003,4.3694000000000006,null,130,58.96696,110,2.5]
[114,51.709488,80,null,131,59.420552000000001,80,null,131,150,null,131,59.420552000000001,69.6678,56.482399999999998,4.3855000000000004,null,131,59.420552000000001,110,2.5]
[115,52.163080000000001,80,null,132,59.874144000000001,80,null,132,150,null,132,59.874144000000001,69.932599999999994,56.697800000000001,4.4016000000000002,null,132,59.874144000000001,110,2.5]
[116,52.616672000000001,80,null,133,60.327736000000002,80,null,133,150,null,133,60.327736000000002,70.197399999999988,56.913200000000003,4.4177,null,133,60.327736000000002,110,2.5]
[117,53.070264000000002,80,null,134,60.781328000000002,80,null,134,150,null,134,60.781328000000002,70.462199999999996,57.128600000000006,4.4337999999999997,null,134,60.781328000000002,110,2.5]
[118,53.523856000000002,80,null,135,61.234920000000002,80,null,135,150,null,135,61.234920000000002,70.727000000000004,57.344000000000001,4.4498999999999995,null,135,61.234920000000002,110,2.5]
[119,53.977448000000003,80,null,136,61.688512000000003,80,null,136,150,null,136,61.688512000000003,70.991799999999998,57.559399999999997,4.4660000000000002,null,136,61.688512000000003,110,2.5]
[120,54.431039999999996,80,null,137,62.142103999999996,80,null,137,150,null,137,62.142103999999996,71.256599999999992,57.774799999999999,4.4821,null,137,62.142103999999996,110,2.5]
[121,54.884631999999996,80,null,138,62.595695999999997,80,null,138,150,null,138,62.595695999999997,71.5214,57.990200000000002,4.4982000000000006,null,138,62.595695999999997,110,2.5]
[122,55.338223999999997,80,null,139,63.049287999999997,80,null,139,150,null,139,63.049287999999997,71.786199999999994,58.205600000000004,4.5143000000000004,null,139,63.049287999999997,110,2.5]
[123,55.791815999999997,80,null,140,63.502879999999998,80,null,140,150,null,140,63.502879999999998,72.050999999999988,58.421000000000006,4.5304000000000002,null,140,63.502879999999998,110,2.5]
[124,56.245407999999998,80,null,141,63.956471999999998,80,null,141,150,null,141,63.956471999999998,72.315799999999996,58.636400000000002,4.5465,null,141,63.956471999999998,110,2.5]
[125,56.698999999999998,80,null,142,64.410064000000006,80,null,142,150,null,142,64.410064000000006,72.580600000000004,58.851799999999997,4.5625999999999998,null,142,64.410064000000006,110,2.5]
[126,57.152591999999999,80,null,143,64.863656000000006,80,null,143,150,null,143,64.863656000000006,72.845399999999998,59.0672,4.5786999999999995,null,143,64.863656000000006,125,2.5]
[127,57.606183999999999,80,null,144,65.317248000000006,{"$f":"0.6114*E152+0.1939","v":88.235500000000002},null,144,150,null,144,65.317248000000006,73.110199999999992,59.282600000000002,4.5948000000000002,null,144,65.317248000000006,125,2.5]
[128,58.059775999999999,80,null,145,65.770839999999993,{"$f":"0.6114*E153+0.1939","v":88.846900000000005},null,145,150,null,145,65.770839999999993,73.375,59.498000000000005,4.6109,null,145,65.770839999999993,125,2.5]
[129,{"$f":"A154*0.453592","v":58.513368},80,null,146,66.224431999999993,89.458300000000008,null,146,150,null,146,66.224431999999993,73.639799999999994,59.7134,4.6270000000000007,null,146,66.224431999999993,125,2.5]
[130,58.96696,80,null,147,66.678023999999994,90.069700000000012,null,147,150,null,147,66.678023999999994,73.904599999999988,59.928800000000003,4.6431000000000004,null,147,66.678023999999994,125,2.5]
[131,59.420552000000001,{"$f":"0.6114*A156+0.1939","v":80.287300000000002},null,148,67.131615999999994,90.681100000000001,null,148,150,null,148,67.131615999999994,74.169399999999996,60.144199999999998,4.6592000000000002,null,148,67.131615999999994,125,2.5]
[132,59.874144000000001,80.898700000000005,null,149,67.585207999999994,91.292500000000004,null,149,150,null,149,67.585207999999994,74.434200000000004,60.3596,4.6753,null,149,67.585207999999994,125,2.5]
[133,60.327736000000002,81.510100000000008,null,150,68.038799999999995,91.903900000000007,null,150,150,null,150,68.038799999999995,74.698999999999998,60.575000000000003,4.6913999999999998,null,150,68.038799999999995,125,2.5]
[134,60.781328000000002,82.121500000000012,null,151,68.492391999999995,92.515300000000011,null,151,150,null,151,68.492391999999995,74.963799999999992,60.790400000000005,4.7074999999999996,null,151,68.492391999999995,125,2.5]
[135,61.234920000000002,82.732900000000001,null,152,68.945983999999996,93.126700000000014,null,152,150,null,152,68.945983999999996,75.2286,61.005800000000001,4.7236000000000002,null,152,68.945983999999996,125,2.5]
[136,61.688512000000003,83.344300000000004,null,153,69.399575999999996,93.738100000000003,null,153,150,null,153,69.399575999999996,75.493399999999994,61.221200000000003,4.7397,null,153,69.399575999999996,125,2.5]
[137,62.142103999999996,83.955700000000007,null,154,69.853167999999997,94.349500000000006,null,154,150,null,154,69.853167999999997,75.758199999999988,61.436599999999999,4.7558000000000007,null,154,69.853167999999997,125,2.5]
[138,62.595695999999997,84.567100000000011,null,155,70.306759999999997,94.960900000000009,null,155,150,null,155,70.306759999999997,76.022999999999996,61.652000000000001,4.7719000000000005,null,155,70.306759999999997,125,2.5]
[139,63.049287999999997,85.178500000000014,null,156,70.760351999999997,95.572300000000013,null,156,150,null,156,70.760351999999997,76.287800000000004,61.867400000000004,4.7880000000000003,null,156,70.760351999999997,125,2.5]
[140,63.502879999999998,85.789900000000003,null,157,71.213943999999998,96.183700000000002,null,157,150,null,157,71.213943999999998,76.552599999999998,62.082799999999999,4.8041,null,157,71.213943999999998,125,2.5]
[141,63.956471999999998,86.401300000000006,null,158,71.667535999999998,96.795100000000005,null,158,150,null,158,71.667535999999998,76.817399999999992,62.298200000000001,4.8201999999999998,null,158,71.667535999999998,125,2.5,null,null,null,{"$f":"76*2.2","v":167.20000000000002}]
[142,64.410064000000006,87.012700000000009,null,159,72.121127999999999,97.406500000000008,null,159,150,null,159,72.121127999999999,77.0822,62.513600000000004,4.8362999999999996,null,159,72.121127999999999,125,2.5]
[143,64.863656000000006,87.624100000000013,null,160,72.574719999999999,98.017900000000012,null,160,150,null,160,72.574719999999999,77.346999999999994,62.728999999999999,4.8524000000000003,null,160,72.574719999999999,125,2.5]
[144,65.317248000000006,88.235500000000002,null,161,73.028312,98.629300000000015,null,161,150,null,161,73.028312,77.611799999999988,62.944400000000002,4.8685,null,161,73.028312,125,2.5]
[145,65.770839999999993,88.846900000000005,null,162,73.481904,99.240700000000004,null,162,150,null,162,73.481904,77.876599999999996,63.159800000000004,4.8846000000000007,null,162,73.481904,125,2.5]
[146,66.224431999999993,89.458300000000008,null,163,73.935496000000001,99.852100000000007,null,163,150,null,163,73.935496000000001,78.141400000000004,63.3752,4.9007000000000005,null,163,73.935496000000001,125,2.5]
[147,66.678023999999994,90.069700000000012,null,164,74.389088000000001,100.46350000000001,null,164,150,null,164,74.389088000000001,78.406199999999998,63.590600000000002,4.9168000000000003,null,164,74.389088000000001,125,2.5]
[148,67.131615999999994,90.681100000000001,null,165,74.842680000000001,101.07490000000001,null,165,150,null,165,74.842680000000001,78.670999999999992,63.806000000000004,4.9329000000000001,null,165,74.842680000000001,125,2.5]
[149,67.585207999999994,91.292500000000004,null,166,75.296272000000002,101.6863,null,166,150,null,166,75.296272000000002,78.9358,64.0214,4.9489999999999998,null,166,75.296272000000002,125,2.5]
[150,68.038799999999995,91.903900000000007,null,167,75.749864000000002,102.29770000000001,null,167,150,null,167,75.749864000000002,79.200599999999994,64.236800000000002,4.9650999999999996,null,167,75.749864000000002,125,2.5]
[151,68.492391999999995,92.515300000000011,null,168,76.203456000000003,102.90910000000001,null,168,150,null,168,76.203456000000003,79.465399999999988,64.452200000000005,4.9812000000000003,null,168,76.203456000000003,125,2.5]
[152,68.945983999999996,93.126700000000014,null,169,76.657048000000003,103.52050000000001,null,169,150,null,169,76.657048000000003,79.730199999999996,64.667599999999993,4.9973000000000001,null,169,76.657048000000003,125,2.5]
[153,69.399575999999996,93.738100000000003,null,170,77.110640000000004,104.1319,null,170,150,null,170,77.110640000000004,79.995000000000005,64.88300000000001,5.0134000000000007,null,170,77.110640000000004,125,2.5]
[154,69.853167999999997,94.349500000000006,null,171,77.564232000000004,104.7433,null,171,150,null,171,77.564232000000004,80.259799999999998,65.098399999999998,5.0295000000000005,null,171,77.564232000000004,125,2.5]
[155,70.306759999999997,94.960900000000009,null,172,78.017824000000005,105.35470000000001,null,172,150,null,172,78.017824000000005,80.524599999999992,65.313800000000001,5.0456000000000003,null,172,78.017824000000005,125,2.5]
[156,70.760351999999997,95.572300000000013,null,173,78.471416000000005,105.96610000000001,null,173,150,null,173,78.471416000000005,80.789400000000001,65.529200000000003,5.0617000000000001,null,173,78.471416000000005,125,2.5]
[157,71.213943999999998,96.183700000000002,null,174,78.925008000000005,106.57750000000001,null,174,150,null,174,78.925008000000005,81.054199999999994,65.744600000000005,5.0777999999999999,null,174,78.925008000000005,125,2.5]
[158,71.667535999999998,96.795100000000005,null,175,79.378600000000006,107.1889,null,175,150,null,175,79.378600000000006,81.318999999999988,65.960000000000008,5.0938999999999997,null,175,79.378600000000006,125,2.5]
[159,72.121127999999999,97.406500000000008,null,176,79.832191999999992,107.80030000000001,null,176,150,null,176,79.832191999999992,81.583799999999997,66.175399999999996,5.1100000000000003,null,176,79.832191999999992,125,2.5]
[160,72.574719999999999,98.017900000000012,null,177,80.285783999999992,108.41170000000001,null,177,150,null,177,80.285783999999992,81.848600000000005,66.390799999999999,5.1261000000000001,null,177,80.285783999999992,125,2.5]
[161,73.028312,98.629300000000015,null,178,80.739375999999993,109.02310000000001,null,178,150,null,178,80.739375999999993,82.113399999999999,66.606200000000001,5.1422000000000008,null,178,80.739375999999993,125,2.5]
[162,73.481904,99.240700000000004,null,179,81.192967999999993,109.6345,null,179,150,null,179,81.192967999999993,82.378199999999993,66.821600000000004,5.1583000000000006,null,179,81.192967999999993,125,2.5]
[163,73.935496000000001,99.852100000000007,null,180,81.646559999999994,110.24590000000001,null,180,150,null,180,81.646559999999994,82.643000000000001,67.037000000000006,5.1744000000000003,null,180,81.646559999999994,125,2.5]
[164,74.389088000000001,100.46350000000001,null,181,82.100151999999994,110.85730000000001,null,181,150,null,181,82.100151999999994,82.907799999999995,67.252399999999994,5.1905000000000001,null,181,82.100151999999994,125,2.5]
[165,74.842680000000001,101.07490000000001,null,182,82.553743999999995,111.46870000000001,null,182,150,null,182,82.553743999999995,83.172599999999989,67.467800000000011,5.2065999999999999,null,182,82.553743999999995,125,2.5]
[166,75.296272000000002,101.6863,null,183,83.007335999999995,112.08010000000002,null,183,150,null,183,83.007335999999995,83.437399999999997,67.683199999999999,5.2226999999999997,null,183,83.007335999999995,125,2.5]
[167,75.749864000000002,102.29770000000001,null,184,83.460927999999996,112.6915,null,184,150,null,184,83.460927999999996,83.702200000000005,67.898600000000002,5.2388000000000003,null,184,83.460927999999996,125,2.5]
[168,76.203456000000003,102.90910000000001,null,185,83.914519999999996,113.30290000000001,null,185,150,null,185,83.914519999999996,83.966999999999999,68.114000000000004,5.2549000000000001,null,185,83.914519999999996,125,2.5]
[169,76.657048000000003,103.52050000000001,null,186,84.368111999999996,113.91430000000001,null,186,150,null,186,84.368111999999996,84.231799999999993,68.329399999999993,5.2710000000000008,null,186,84.368111999999996,125,2.5]
[170,77.110640000000004,104.1319,null,187,84.821703999999997,114.52570000000001,null,187,150,null,187,84.821703999999997,84.496600000000001,68.544800000000009,5.2871000000000006,null,187,84.821703999999997,125,2.5]
[171,77.564232000000004,104.7433,null,188,85.275295999999997,115.1371,null,188,150,null,188,85.275295999999997,84.761399999999995,68.760199999999998,5.3032000000000004,null,188,85.275295999999997,130,3]
[172,78.017824000000005,105.35470000000001,null,189,85.728887999999998,115.74850000000001,null,189,150,null,189,85.728887999999998,85.026199999999989,68.9756,5.3193000000000001,null,189,85.728887999999998,130,3]
[173,78.471416000000005,105.96610000000001,null,190,86.182479999999998,116.35990000000001,null,190,150,null,190,86.182479999999998,85.290999999999997,69.191000000000003,5.3353999999999999,null,190,86.182479999999998,130,3]
[174,78.925008000000005,106.57750000000001,null,191,86.636071999999999,116.97130000000001,null,191,150,null,191,86.636071999999999,85.555800000000005,69.406400000000005,5.3514999999999997,null,191,86.636071999999999,130,3]
[175,79.378600000000006,107.1889,null,192,{"$f":"E200*0.453592","v":87.089663999999999},117.5827,null,192,150,null,192,87.089663999999999,85.820599999999999,69.621800000000007,5.3675999999999995,null,192,87.089663999999999,130,3]
[176,79.832191999999992,107.80030000000001,null,193,87.543256,118.19410000000001,null,193,150,null,193,{"$f":"L201*0.453592","v":87.543256},{"$f":"0.2648*L201+34.979","v":86.085399999999993},{"$f":"0.2154*L201+28.265","v":69.837199999999996},{"$f":"0.0161*L201+2.2764","v":5.3837000000000002},null,193,{"$f":"R201*0.453592","v":87.543256},130,3]
[177,80.285783999999992,108.41170000000001,null,194,87.996848,118.80550000000001,null,194,150,null,194,87.996848,86.350200000000001,70.052600000000012,5.3997999999999999,null,194,87.996848,130,3]
[178,80.739375999999993,109.02310000000001,null,195,88.45044,119.41690000000001,null,195,150,null,195,88.45044,86.614999999999995,70.268000000000001,5.4159000000000006,null,195,88.45044,130,3]
[179,81.192967999999993,109.6345,null,196,88.904032000000001,120.02830000000002,null,196,150,null,196,88.904032000000001,86.879799999999989,70.483400000000003,5.4320000000000004,null,196,88.904032000000001,130,3]
[180,81.646559999999994,110.24590000000001,null,197,89.357624000000001,120.6397,null,197,150,null,197,89.357624000000001,87.144599999999997,70.698800000000006,5.4481000000000002,null,197,89.357624000000001,130,3]
[181,82.100151999999994,110.85730000000001,null,198,89.811216000000002,121.25110000000001,null,198,150,null,198,89.811216000000002,87.409400000000005,70.914199999999994,5.4641999999999999,null,198,89.811216000000002,130,3]
[182,82.553743999999995,111.46870000000001,null,199,90.264808000000002,121.86250000000001,null,199,150,null,199,90.264808000000002,87.674199999999985,71.129600000000011,5.4802999999999997,null,199,90.264808000000002,130,3]
[183,83.007335999999995,112.08010000000002,null,200,90.718400000000003,122.47390000000001,null,200,150,null,200,90.718400000000003,87.938999999999993,71.344999999999999,5.4963999999999995,null,200,90.718400000000003,130,3]
[184,83.460927999999996,112.6915,null,201,91.171992000000003,123.0853,null,null,null,null,201,91.171992000000003,88.203800000000001,71.560400000000001,5.5125000000000002,null,201,91.171992000000003,130,3]
[185,83.914519999999996,113.30290000000001,null,202,91.625584000000003,123.69670000000001,null,null,null,null,202,91.625584000000003,88.468599999999995,71.775800000000004,5.5286,null,202,91.625584000000003,130,3]
[186,84.368111999999996,113.91430000000001,null,203,92.079176000000004,124.30810000000001,null,null,null,null,203,92.079176000000004,88.733399999999989,71.991199999999992,5.5447000000000006,null,203,92.079176000000004,130,3]
[187,84.821703999999997,114.52570000000001,null,204,92.532768000000004,124.91950000000001,null,null,null,null,204,92.532768000000004,88.998199999999997,72.206600000000009,5.5608000000000004,null,204,92.532768000000004,130,3]
[188,85.275295999999997,115.1371,null,205,92.986360000000005,125.53090000000002,null,null,null,null,205,92.986360000000005,89.263000000000005,72.421999999999997,5.5769000000000002,null,205,92.986360000000005,130,3]
[189,85.728887999999998,115.74850000000001,null,206,93.439952000000005,126.14230000000001,null,null,null,null,206,93.439952000000005,89.527799999999985,72.6374,5.593,null,206,93.439952000000005,130,3]
[190,86.182479999999998,116.35990000000001,null,207,93.893544000000006,126.75370000000001,null,null,null,null,207,93.893544000000006,89.792599999999993,72.852800000000002,5.6090999999999998,null,207,93.893544000000006,130,3]
[191,86.636071999999999,116.97130000000001,null,208,94.347136000000006,127.36510000000001,null,null,null,null,208,94.347136000000006,90.057400000000001,73.068200000000004,5.6251999999999995,null,208,94.347136000000006,130,3]
[192,87.089663999999999,117.5827,null,209,94.800727999999992,{"$f":"0.6114*E217+0.1939","v":127.97650000000002},null,null,null,null,209,94.800727999999992,90.322199999999995,73.283600000000007,5.6413000000000002,null,209,94.800727999999992,150,3]
[193,{"$f":"A218*0.453592","v":87.543256},{"$f":"0.6114*A218+0.1939","v":118.19410000000001},null,210,95.254319999999993,128.58790000000002,null,null,null,null,210,95.254319999999993,90.586999999999989,73.498999999999995,5.6574,null,210,95.254319999999993,150,3]
[194,87.996848,118.80550000000001,null,211,95.707911999999993,129.19930000000002,null,null,null,null,211,95.707911999999993,90.851799999999997,73.714400000000012,5.6735000000000007,null,211,95.707911999999993,150,3]
[195,88.45044,119.41690000000001,null,212,96.161503999999994,129.81070000000003,null,null,null,null,212,96.161503999999994,91.116600000000005,73.9298,5.6896000000000004,null,212,96.161503999999994,150,3]
[196,88.904032000000001,120.02830000000002,null,213,96.615095999999994,130.42210000000003,null,null,null,null,213,96.615095999999994,91.381399999999985,74.145200000000003,5.7057000000000002,null,213,96.615095999999994,150,3]
[197,89.357624000000001,120.6397,null,214,97.068687999999995,131.03350000000003,null,null,null,null,214,97.068687999999995,91.646199999999993,74.360600000000005,5.7218,null,214,97.068687999999995,150,3]
[198,89.811216000000002,121.25110000000001,null,215,97.522279999999995,131.64490000000004,null,null,null,null,215,97.522279999999995,91.911000000000001,74.575999999999993,5.7378999999999998,null,215,97.522279999999995,150,3]
[199,90.264808000000002,121.86250000000001,null,216,97.975871999999995,132.25630000000004,null,null,null,null,216,97.975871999999995,92.175799999999995,74.79140000000001,5.7539999999999996,null,216,97.975871999999995,150,3]
[200,90.718400000000003,122.47390000000001,null,217,98.429463999999996,132.86770000000001,null,null,null,null,217,98.429463999999996,92.440599999999989,75.006799999999998,5.7701000000000002,null,217,98.429463999999996,150,3]
[201,91.171992000000003,123.0853,null,218,98.883055999999996,133.47910000000002,null,null,null,null,218,98.883055999999996,92.705399999999997,75.222200000000001,5.7862,null,218,98.883055999999996,150,3]
[202,91.625584000000003,123.69670000000001,null,219,99.336647999999997,134.09050000000002,null,null,null,null,219,99.336647999999997,92.970199999999991,75.437600000000003,5.8023000000000007,null,219,99.336647999999997,150,3]
[203,92.079176000000004,124.30810000000001,null,220,99.790239999999997,134.70190000000002,null,null,null,null,220,99.790239999999997,93.234999999999985,75.653000000000006,5.8184000000000005,null,220,99.790239999999997,150,3]
[204,92.532768000000004,124.91950000000001,null,221,100.243832,135.31330000000003,null,null,null,null,221,100.243832,93.499799999999993,75.868400000000008,5.8345000000000002,null,221,100.243832,150,3]
[205,92.986360000000005,125.53090000000002,null,222,100.697424,135.92470000000003,null,null,null,null,222,100.697424,93.764600000000002,76.083799999999997,5.8506,null,222,100.697424,150,3]
[206,93.439952000000005,126.14230000000001,null,223,101.151016,136.53610000000003,null,null,null,null,223,101.151016,94.029399999999995,76.299199999999999,5.8666999999999998,null,223,101.151016,150,3]
[207,93.893544000000006,126.75370000000001,null,224,101.604608,137.14750000000004,null,null,null,null,224,101.604608,94.294199999999989,76.514600000000002,5.8827999999999996,null,224,101.604608,150,3]
[208,94.347136000000006,127.36510000000001,null,225,102.0582,137.75890000000004,null,null,null,null,225,102.0582,94.558999999999997,76.73,5.8989000000000003,null,225,102.0582,150,3]
[209,94.800727999999992,127.97650000000002,null,226,102.511792,138.37030000000001,null,null,null,null,226,102.511792,94.823799999999991,76.945400000000006,5.915,null,226,102.511792,150,3]
[210,95.254319999999993,128.58790000000002,null,227,102.965384,138.98170000000002,null,null,null,null,227,102.965384,95.088599999999985,77.160799999999995,5.9311000000000007,null,227,102.965384,150,3]
[211,95.707911999999993,129.19930000000002,null,228,103.418976,139.59310000000002,null,null,null,null,228,103.418976,95.353399999999993,77.376200000000011,5.9472000000000005,null,228,103.418976,150,3]
[212,96.161503999999994,129.81070000000003,null,229,103.872568,140.20450000000002,null,null,null,null,229,103.872568,95.618200000000002,77.5916,5.9633000000000003,null,229,103.872568,150,3]
[213,96.615095999999994,130.42210000000003,null,230,104.32616,140.81590000000003,null,null,null,null,230,104.32616,95.882999999999996,77.807000000000002,5.9794,null,230,104.32616,150,3]
[214,97.068687999999995,131.03350000000003,null,231,104.779752,141.42730000000003,null,null,null,null,231,104.779752,96.147799999999989,78.022400000000005,5.9954999999999998,null,231,104.779752,150,3]
[215,97.522279999999995,131.64490000000004,null,232,105.233344,142.03870000000003,null,null,null,null,232,105.233344,96.412599999999998,78.237799999999993,6.0115999999999996,null,232,105.233344,150,3]
[216,97.975871999999995,132.25630000000004,null,233,105.686936,142.65010000000004,null,null,null,null,233,105.686936,96.677399999999992,78.45320000000001,6.0277000000000003,null,233,105.686936,150,3]
[217,98.429463999999996,132.86770000000001,null,234,106.140528,143.26150000000001,null,null,null,null,234,106.140528,96.942199999999985,78.668599999999998,6.0438000000000001,null,234,106.140528,150,3]
[218,98.883055999999996,133.47910000000002,null,235,106.59412,143.87290000000002,null,null,null,null,235,106.59412,97.206999999999994,78.884,6.0599000000000007,null,235,106.59412,150,3]
[219,99.336647999999997,134.09050000000002,null,236,107.047712,144.48430000000002,null,null,null,null,236,107.047712,97.471800000000002,79.099400000000003,6.0760000000000005,null,236,107.047712,150,3]
[220,99.790239999999997,134.70190000000002,null,237,107.501304,145.09570000000002,null,null,null,null,237,107.501304,97.736599999999996,79.314800000000005,6.0921000000000003,null,237,107.501304,150,3]
[221,100.243832,135.31330000000003,null,238,107.95489600000001,145.70710000000003,null,null,null,null,238,107.95489600000001,98.00139999999999,79.530200000000008,6.1082000000000001,null,238,107.95489600000001,150,3]
[222,100.697424,135.92470000000003,null,239,108.40848800000001,146.31850000000003,null,null,null,null,239,108.40848800000001,98.266199999999998,79.745599999999996,6.1242999999999999,null,239,108.40848800000001,150,3]
[223,101.151016,136.53610000000003,null,240,108.86207999999999,146.92990000000003,null,null,null,null,240,108.86207999999999,98.530999999999992,79.961000000000013,6.1403999999999996,null,240,108.86207999999999,150,3]
[224,101.604608,137.14750000000004,null,241,109.31567199999999,147.54130000000004,null,null,null,null,241,109.31567199999999,98.795799999999986,80.176400000000001,6.1565000000000003,null,241,109.31567199999999,150,3]
[225,102.0582,137.75890000000004,null,242,109.76926399999999,148.15270000000004,null,null,null,null,242,109.76926399999999,99.060599999999994,80.391800000000003,6.1726000000000001,null,242,109.76926399999999,150,3]
[226,102.511792,138.37030000000001,null,243,110.22285599999999,148.76410000000001,null,null,null,null,243,110.22285599999999,99.325399999999988,80.607200000000006,6.1887000000000008,null,243,110.22285599999999,150,3]
[227,102.965384,138.98170000000002,null,244,110.67644799999999,149.37550000000002,null,null,null,null,244,110.67644799999999,99.590199999999996,80.822599999999994,6.2048000000000005,null,244,110.67644799999999,150,3]
[228,103.418976,139.59310000000002,null,245,111.13003999999999,149.98690000000002,null,null,null,null,245,111.13003999999999,99.85499999999999,81.038000000000011,6.2209000000000003,null,245,111.13003999999999,150,3]
[229,103.872568,140.20450000000002,null,246,111.58363199999999,150.59830000000002,null,null,null,null,246,111.58363199999999,100.1198,81.253399999999999,6.2370000000000001,null,246,111.58363199999999,150,3]
[230,104.32616,140.81590000000003,null,247,112.03722399999999,151.20970000000003,null,null,null,null,247,112.03722399999999,100.38459999999999,81.468800000000002,6.2530999999999999,null,247,112.03722399999999,150,3]
[231,104.779752,141.42730000000003,null,248,112.490816,151.82110000000003,null,null,null,null,248,112.490816,100.6494,81.684200000000004,6.2691999999999997,null,248,112.490816,150,3]
[232,105.233344,142.03870000000003,null,249,112.944408,152.43250000000003,null,null,null,null,249,112.944408,100.91419999999999,81.899599999999992,6.2852999999999994,null,249,112.944408,150,3]
[233,105.686936,142.65010000000004,null,250,113.398,153.04390000000004,null,null,null,null,250,113.398,101.17899999999999,82.115000000000009,6.301400000000001,null,250,113.398,150,3]
[234,106.140528,143.26150000000001,null,251,113.851592,153.65530000000004,null,null,null,null,251,113.851592,101.4438,82.330399999999997,6.3175000000000008,null,251,113.851592,150,3]
[235,106.59412,143.87290000000002,null,252,114.305184,154.26670000000001,null,null,null,null,252,114.305184,101.70859999999999,82.5458,6.3336000000000006,null,252,114.305184,150,3]
[236,107.047712,144.48430000000002,null,253,114.758776,154.87810000000002,null,null,null,null,253,114.758776,101.9734,82.761200000000002,6.3497000000000003,null,253,114.758776,150,3]
[237,107.501304,145.09570000000002,null,254,115.212368,155.48950000000002,null,null,null,null,254,115.212368,102.23819999999999,82.976600000000005,6.3658000000000001,null,254,115.212368,150,3]
[238,107.95489600000001,145.70710000000003,null,255,115.66596,156.10090000000002,null,null,null,null,255,115.66596,102.503,83.192000000000007,6.3818999999999999,null,255,115.66596,150,3]
[239,108.40848800000001,146.31850000000003,null,256,{"$f":"E264*0.453592","v":116.119552},156.71230000000003,null,null,null,null,256,116.119552,102.76779999999999,83.407399999999996,6.3979999999999997,null,256,116.119552,150,3]
[240,108.86207999999999,146.92990000000003,null,257,116.573144,157.32370000000003,null,null,null,null,257,{"$f":"L265*0.453592","v":116.573144},{"$f":"0.2648*L265+34.979","v":103.03259999999999},{"$f":"0.2154*L265+28.265","v":83.622800000000012},{"$f":"0.0161*L265+2.2764","v":6.4140999999999995},null,257,{"$f":"R265*0.453592","v":116.573144},150,3]
[241,109.31567199999999,147.54130000000004,null,258,117.026736,157.93510000000003,null,null,null,null,258,117.026736,103.2974,83.838200000000001,6.4301999999999992,null,258,117.026736,150,3]
[242,109.76926399999999,148.15270000000004,null,259,117.480328,158.54650000000004,null,null,null,null,259,117.480328,103.56219999999999,84.053600000000003,6.4463000000000008,null,259,117.480328,150,3]
[243,110.22285599999999,148.76410000000001,null,260,117.93392,159.15790000000004,null,null,null,null,260,117.93392,103.827,84.269000000000005,6.4624000000000006,null,260,117.93392,150,3]
[244,110.67644799999999,149.37550000000002,null,261,118.387512,159.76930000000002,null,null,null,null,261,118.387512,104.09179999999999,84.484399999999994,6.4785000000000004,null,261,118.387512,150,3]
[245,111.13003999999999,149.98690000000002,null,262,118.841104,160.38070000000002,null,null,null,null,262,118.841104,104.3566,84.69980000000001,6.4946000000000002,null,262,118.841104,150,3]
[246,111.58363199999999,150.59830000000002,null,263,119.294696,160.99210000000002,null,null,null,null,263,119.294696,104.62139999999999,84.915199999999999,6.5106999999999999,null,263,119.294696,150,3]
[247,112.03722399999999,151.20970000000003,null,264,119.748288,161.60350000000003,null,null,null,null,264,119.748288,104.88619999999999,85.130600000000001,6.5267999999999997,null,264,119.748288,150,3]
[248,112.490816,151.82110000000003,null,265,120.20188,162.21490000000003,null,null,null,null,265,120.20188,105.151,85.346000000000004,6.5428999999999995,null,265,120.20188,150,3]
[249,112.944408,152.43250000000003,null,266,120.655472,162.82630000000003,null,null,null,null,266,120.655472,105.41579999999999,85.561400000000006,6.5589999999999993,null,266,120.655472,150,3]
[250,113.398,153.04390000000004,null,267,121.109064,163.43770000000004,null,null,null,null,267,121.109064,105.6806,85.776800000000009,6.5751000000000008,null,267,121.109064,150,3]
[251,113.851592,153.65530000000004,null,268,121.562656,164.04910000000004,null,null,null,null,268,121.562656,105.94539999999999,85.992199999999997,6.5912000000000006,null,268,121.562656,150,3]
[252,114.305184,154.26670000000001,null,269,122.016248,164.66050000000004,null,null,null,null,269,122.016248,106.2102,86.207599999999999,6.6073000000000004,null,269,122.016248,150,3]
[253,114.758776,154.87810000000002,null,270,122.46984,165.27190000000002,null,null,null,null,270,122.46984,106.47499999999999,86.423000000000002,6.6234000000000002,null,270,122.46984,150,3]
[254,115.212368,155.48950000000002,null,271,122.92343200000001,165.88330000000002,null,null,null,null,271,122.92343200000001,106.73979999999999,86.638400000000004,6.6395,null,271,122.92343200000001,150,3]
[255,115.66596,156.10090000000002,null,272,123.37702400000001,166.49470000000002,null,null,null,null,272,123.37702400000001,107,86.853800000000007,6.6555999999999997,null,272,123.37702400000001,150,3]
[256,116.119552,156.71230000000003,null,273,123.83061599999999,{"$f":"0.6114*E281+0.1939","v":167.10610000000003},null,null,null,null,273,123.83061599999999,107,87,6.6716999999999995,null,273,123.83061599999999,150,3]
[257,{"$f":"A282*0.453592","v":116.573144},{"$f":"0.6114*A282+0.1939","v":157.32370000000003},null,274,124.28420799999999,167.71750000000003,null,null,null,null,274,124.28420799999999,107,87,6.6877999999999993,null,274,124.28420799999999,150,3]
[258,117.026736,157.93510000000003,null,275,124.73779999999999,168.32890000000003,null,null,null,null,275,124.73779999999999,107,87,6.7,null,275,124.73779999999999,150,3]
[259,117.480328,158.54650000000004,null,276,125.19139199999999,168.94030000000004,null,null,null,null,276,125.19139199999999,107,87,6.7,null,276,125.19139199999999,150,3]
[260,117.93392,159.15790000000004,null,277,125.64498399999999,169.55170000000004,null,null,null,null,277,125.64498399999999,107,87,6.7,null,277,125.64498399999999,150,3]
[261,118.387512,159.76930000000002,null,278,126.09857599999999,170.16310000000004,null,null,null,null,278,126.09857599999999,107,87,6.7,null,278,126.09857599999999,150,3]
[262,118.841104,160.38070000000002,null,279,126.55216799999999,170.77450000000002,null,null,null,null,279,126.55216799999999,107,87,6.7,null,279,126.55216799999999,150,3]
[263,119.294696,160.99210000000002,null,280,127.00576,171.38590000000002,null,null,null,null,280,127.00576,107,87,6.7,null,280,127.00576,150,3]
[264,119.748288,161.60350000000003,null,281,127.459352,171.99730000000002,null,null,null,null,281,127.459352,107,87,6.7,null,281,127.459352,150,3]
[265,120.20188,162.21490000000003,null,282,127.912944,172.60870000000003,null,null,null,null,282,127.912944,107,87,6.7,null,282,127.912944,150,3]
[266,120.655472,162.82630000000003,null,283,128.366536,173.22010000000003,null,null,null,null,283,128.366536,107,87,6.7,null,283,128.366536,150,3]
[267,121.109064,163.43770000000004,null,284,128.82012800000001,173.83150000000003,null,null,null,null,284,128.82012800000001,107,87,6.7,null,284,128.82012800000001,150,3]
[268,121.562656,164.04910000000004,null,285,129.27372,174.44290000000004,null,null,null,null,285,129.27372,107,87,6.7,null,285,129.27372,150,3]
[269,122.016248,164.66050000000004,null,286,129.72731200000001,175.05430000000004,null,null,null,null,286,129.72731200000001,107,87,6.7,null,286,129.72731200000001,150,3]
[270,122.46984,165.27190000000002,null,287,130.180904,175.66570000000002,null,null,null,null,287,130.180904,107,87,6.7,null,287,130.180904,150,3]
[271,122.92343200000001,165.88330000000002,null,288,130.63449600000001,176.27710000000002,null,null,null,null,288,130.63449600000001,107,87,6.7,null,288,130.63449600000001,150,3]
[272,123.37702400000001,166.49470000000002,null,289,131.088088,176.88850000000002,null,null,null,null,289,131.088088,107,87,6.7,null,289,131.088088,150,3]
[273,123.83061599999999,167.10610000000003,null,290,131.54167999999999,177.49990000000003,null,null,null,null,290,131.54167999999999,107,87,6.7,null,290,131.54167999999999,150,3]
[274,124.28420799999999,167.71750000000003,null,291,131.995272,178.11130000000003,null,null,null,null,291,131.995272,107,87,6.7,null,291,131.995272,150,3]
[275,124.73779999999999,168.32890000000003,null,292,132.44886399999999,178.72270000000003,null,null,null,null,292,132.44886399999999,107,87,6.7,null,292,132.44886399999999,150,3]
[276,125.19139199999999,168.94030000000004,null,293,132.902456,179.33410000000003,null,null,null,null,293,132.902456,107,87,6.7,null,293,132.902456,150,3]
[277,125.64498399999999,169.55170000000004,null,294,133.35604799999999,179.94550000000004,null,null,null,null,294,133.35604799999999,107,87,6.7,null,294,133.35604799999999,150,3]
[278,126.09857599999999,170.16310000000004,null,295,133.80964,180.55690000000004,null,null,null,null,295,133.80964,107,87,6.7,null,295,133.80964,150,3]
[279,126.55216799999999,170.77450000000002,null,296,134.26323199999999,181.16830000000002,null,null,null,null,296,134.26323199999999,107,87,6.7,null,296,134.26323199999999,150,3]
[280,127.00576,171.38590000000002,null,297,134.716824,181.77970000000002,null,null,null,null,297,134.716824,107,87,6.7,null,297,134.716824,150,3]
[281,127.459352,171.99730000000002,null,298,135.17041599999999,182.39110000000002,null,null,null,null,298,135.17041599999999,107,87,6.7,null,298,135.17041599999999,150,3]
[282,127.912944,172.60870000000003,null,299,135.624008,183.00250000000003,null,null,null,null,299,135.624008,107,87,6.7,null,299,135.624008,150,3]
[283,128.366536,173.22010000000003,null,300,136.07759999999999,183.61390000000003,null,null,null,null,300,136.07759999999999,107,87,6.7,null,300,136.07759999999999,150,3]
[284,128.82012800000001,173.83150000000003,null,301,136.531192,184.22530000000003,null,null,null,null,301,136.531192,107,87,6.7,null,301,136.531192,150,3]
[285,129.27372,174.44290000000004,null,302,136.98478399999999,184.83670000000004,null,null,null,null,302,136.98478399999999,107,87,6.7,null,302,136.98478399999999,150,3]
[286,129.72731200000001,175.05430000000004,null,303,137.43837600000001,185.44810000000004,null,null,null,null,303,137.43837600000001,107,87,6.7,null,303,137.43837600000001,150,3]
[287,130.180904,175.66570000000002,null,304,137.89196799999999,186.05950000000004,null,null,null,null,304,137.89196799999999,107,87,6.7,null,304,137.89196799999999,150,3]
[288,130.63449600000001,176.27710000000002,null,305,138.34556000000001,186.67090000000002,null,null,null,null,305,138.34556000000001,107,87,6.7,null,305,138.34556000000001,150,3]
[289,131.088088,176.88850000000002,null,306,138.79915199999999,187.28230000000002,null,null,null,null,306,138.79915199999999,107,87,6.7,null,306,138.79915199999999,150,3]
[290,131.54167999999999,177.49990000000003,null,307,139.25274400000001,187.89370000000002,null,null,null,null,307,139.25274400000001,107,87,6.7,null,307,139.25274400000001,150,3]
[291,131.995272,178.11130000000003,null,308,139.70633599999999,188.50510000000003,null,null,null,null,308,139.70633599999999,107,87,6.7,null,308,139.70633599999999,150,3]
[292,132.44886399999999,178.72270000000003,null,309,140.15992800000001,189.11650000000003,null,null,null,null,309,140.15992800000001,107,87,6.7,null,309,140.15992800000001,150,3]
[293,132.902456,179.33410000000003,null,310,140.61351999999999,189.72790000000003,null,null,null,null,310,140.61351999999999,107,87,6.7,null,310,140.61351999999999,150,3]
[294,133.35604799999999,179.94550000000004,null,311,141.06711200000001,190.33930000000004,null,null,null,null,311,141.06711200000001,107,87,6.7,null,311,141.06711200000001,150,3]
[295,133.80964,180.55690000000004,null,312,141.52070399999999,190.95070000000004,null,null,null,null,312,141.52070399999999,107,87,6.7,null,312,141.52070399999999,150,3]
[296,134.26323199999999,181.16830000000002,null,313,141.97429600000001,191.56210000000004,null,null,null,null,313,141.97429600000001,107,87,6.7,null,313,141.97429600000001,150,3]
[297,134.716824,181.77970000000002,null,314,142.427888,192.17350000000002,null,null,null,null,314,142.427888,107,87,6.7,null,314,142.427888,150,3]
[298,135.17041599999999,182.39110000000002,null,315,142.88148000000001,192.78490000000002,null,null,null,null,315,142.88148000000001,107,87,6.7,null,315,142.88148000000001,150,3]
[299,135.624008,183.00250000000003,null,316,143.335072,193.39630000000002,null,null,null,null,316,143.335072,107,87,6.7,null,316,143.335072,150,3]
[300,136.07759999999999,183.61390000000003,null,317,143.78866400000001,194.00770000000003,null,null,null,null,317,143.78866400000001,107,87,6.7,null,317,143.78866400000001,150,3]
[301,136.531192,184.22530000000003,null,318,144.242256,194.61910000000003,null,null,null,null,318,144.242256,107,87,6.7,null,318,144.242256,150,3]
[302,136.98478399999999,184.83670000000004,null,319,144.69584800000001,195.23050000000003,null,null,null,null,319,144.69584800000001,107,87,6.7,null,319,144.69584800000001,150,3]
[303,137.43837600000001,185.44810000000004,null,320,{"$f":"E328*0.453592","v":145.14944},195.84190000000004,null,null,null,null,320,145.14944,107,87,6.7,null,320,145.14944,150,3]
[304,137.89196799999999,186.05950000000004,null,321,145.60303199999998,196.45330000000004,null,null,null,null,321,{"$f":"L329*0.453592","v":145.60303199999998},107,87,6.7,null,321,{"$f":"R329*0.453592","v":145.60303199999998},150,3]
[305,138.34556000000001,186.67090000000002,null,322,146.056624,197.06470000000004,null,null,null,null,322,146.056624,107,87,6.7,null,322,146.056624,150,3]
[306,138.79915199999999,187.28230000000002,null,323,146.51021599999999,197.67610000000002,null,null,null,null,323,146.51021599999999,107,87,6.7,null,323,146.51021599999999,150,3]
[307,139.25274400000001,187.89370000000002,null,324,146.963808,198.28750000000002,null,null,null,null,324,146.963808,107,87,6.7,null,324,146.963808,150,3]
[308,139.70633599999999,188.50510000000003,null,325,147.41739999999999,198.89890000000003,null,null,null,null,325,147.41739999999999,107,87,6.7,null,325,147.41739999999999,150,3]
[309,140.15992800000001,189.11650000000003,null,326,147.870992,199.51030000000003,null,null,null,null,326,147.870992,107,87,6.7,null,326,147.870992,150,3]
[310,140.61351999999999,189.72790000000003,null,327,148.32458399999999,200.12170000000003,null,null,null,null,327,148.32458399999999,107,87,6.7,null,327,148.32458399999999,150,3]
[311,141.06711200000001,190.33930000000004,null,328,148.778176,200.73310000000004,null,null,null,null,328,148.778176,107,87,6.7,null,328,148.778176,150,3]
[312,141.52070399999999,190.95070000000004,null,329,149.23176799999999,201.34450000000004,null,null,null,null,329,149.23176799999999,107,87,6.7,null,329,149.23176799999999,150,3]
[313,141.97429600000001,191.56210000000004,null,330,149.68536,201.95590000000004,null,null,null,null,330,149.68536,107,87,6.7,null,330,149.68536,150,3]
[314,142.427888,192.17350000000002,null,331,150.13895199999999,202.56730000000005,null,null,null,null,331,150.13895199999999,107,87,6.7,null,331,150.13895199999999,150,3]
[315,142.88148000000001,192.78490000000002,null,332,150.592544,203.17870000000002,null,null,null,null,332,150.592544,107,87,6.7,null,332,150.592544,150,3]
[316,143.335072,193.39630000000002,null,333,151.04613599999999,203.79010000000002,null,null,null,null,333,151.04613599999999,107,87,6.7,null,333,151.04613599999999,150,3]
[317,143.78866400000001,194.00770000000003,null,334,151.499728,204.40150000000003,null,null,null,null,334,151.499728,107,87,6.7,null,334,151.499728,150,3]
[318,144.242256,194.61910000000003,null,335,151.95331999999999,205.01290000000003,null,null,null,null,335,151.95331999999999,107,87,6.7,null,335,151.95331999999999,150,3]
[319,144.69584800000001,195.23050000000003,null,336,152.40691200000001,205.62430000000003,null,null,null,null,336,152.40691200000001,107,87,6.7,null,336,152.40691200000001,150,3]
[320,145.14944,195.84190000000004,null,337,152.86050399999999,{"$f":"0.6114*E345+0.1939","v":206.23570000000004},null,null,null,null,337,152.86050399999999,107,87,6.7,null,337,152.86050399999999,150,3]
[321,{"$f":"A346*0.453592","v":145.60303199999998},{"$f":"0.6114*A346+0.1939","v":196.45330000000004},null,338,153.31409600000001,206.84710000000004,null,null,null,null,338,153.31409600000001,107,87,6.7,null,338,153.31409600000001,150,3]
[322,146.056624,197.06470000000004,null,339,153.76768799999999,207.45850000000004,null,null,null,null,339,153.76768799999999,107,87,6.7,null,339,153.76768799999999,150,3]
[323,146.51021599999999,197.67610000000002,null,340,154.22128000000001,208.06990000000002,null,null,null,null,340,154.22128000000001,107,87,6.7,null,340,154.22128000000001,150,3]
[324,146.963808,198.28750000000002,null,341,154.67487199999999,208.68130000000002,null,null,null,null,341,154.67487199999999,107,87,6.7,null,341,154.67487199999999,150,3]
[325,147.41739999999999,198.89890000000003,null,342,155.12846400000001,209.29270000000002,null,null,null,null,342,155.12846400000001,107,87,6.7,null,342,155.12846400000001,150,3]
[326,147.870992,199.51030000000003,null,343,155.58205599999999,209.90410000000003,null,null,null,null,343,155.58205599999999,107,87,6.7,null,343,155.58205599999999,150,3]
[327,148.32458399999999,200.12170000000003,null,344,156.03564800000001,210.51550000000003,null,null,null,null,344,156.03564800000001,107,87,6.7,null,344,156.03564800000001,150,3]
[328,148.778176,200.73310000000004,null,345,156.48924,211.12690000000003,null,null,null,null,345,156.48924,107,87,6.7,null,345,156.48924,150,3]
[329,149.23176799999999,201.34450000000004,null,346,156.94283200000001,211.73830000000004,null,null,null,null,346,156.94283200000001,107,87,6.7,null,346,156.94283200000001,150,3]
[330,149.68536,201.95590000000004,null,347,157.396424,212.34970000000004,null,null,null,null,347,157.396424,107,87,6.7,null,347,157.396424,150,3]
[331,150.13895199999999,202.56730000000005,null,348,157.85001600000001,212.96110000000004,null,null,null,null,348,157.85001600000001,107,87,6.7,null,348,157.85001600000001,150,3]
[332,150.592544,203.17870000000002,null,349,158.303608,213.57250000000002,null,null,null,null,349,158.303608,107,87,6.7,null,349,158.303608,150,3]
[333,151.04613599999999,203.79010000000002,null,350,158.75720000000001,214.18390000000002,null,null,null,null,350,158.75720000000001,107,87,6.7,null,350,158.75720000000001,150,3]
[334,151.499728,204.40150000000003,null,351,159.210792,214.79530000000003,null,null,null,null,351,159.210792,107,87,6.7,null,351,159.210792,150,3]
[335,151.95331999999999,205.01290000000003,null,352,159.66438399999998,215.40670000000003,null,null,null,null,352,159.66438399999998,107,87,6.7,null,352,159.66438399999998,150,3]
[336,152.40691200000001,205.62430000000003,null,353,160.117976,216.01810000000003,null,null,null,null,353,160.117976,107,87,6.7,null,353,160.117976,150,3]
[337,152.86050399999999,206.23570000000004,null,354,160.57156799999998,216.62950000000004,null,null,null,null,354,160.57156799999998,107,87,6.7,null,354,160.57156799999998,150,3]
[338,153.31409600000001,206.84710000000004,null,355,161.02516,217.24090000000004,null,null,null,null,355,161.02516,107,87,6.7,null,355,161.02516,150,3]
[339,153.76768799999999,207.45850000000004,null,356,161.47875199999999,217.85230000000004,null,null,null,null,356,161.47875199999999,107,87,6.7,null,356,161.47875199999999,150,3]
[340,154.22128000000001,208.06990000000002,null,357,161.932344,218.46370000000005,null,null,null,null,357,161.932344,107,87,6.7,null,357,161.932344,150,3]
[341,154.67487199999999,208.68130000000002,null,358,162.38593599999999,219.07510000000002,null,null,null,null,358,162.38593599999999,107,87,6.7,null,358,162.38593599999999,150,3]
[342,155.12846400000001,209.29270000000002,null,359,162.839528,219.68650000000002,null,null,null,null,359,162.839528,107,87,6.7,null,359,162.839528,150,3]
[343,155.58205599999999,209.90410000000003,null,360,163.29311999999999,220.29790000000003,null,null,null,null,360,163.29311999999999,107,87,6.7,null,360,163.29311999999999,150,3]
[344,156.03564800000001,210.51550000000003,null,361,163.746712,220.90930000000003,null,null,null,null,361,163.746712,107,87,6.7,null,361,163.746712,150,3]
[345,156.48924,211.12690000000003,null,362,164.20030399999999,221.52070000000003,null,null,null,null,362,164.20030399999999,107,87,6.7,null,362,164.20030399999999,150,3]
[346,156.94283200000001,211.73830000000004,null,363,164.653896,222.13210000000004,null,null,null,null,363,164.653896,107,87,6.7,null,363,164.653896,150,3]
[347,157.396424,212.34970000000004,null,364,165.10748799999999,222.74350000000004,null,null,null,null,364,165.10748799999999,107,87,6.7,null,364,165.10748799999999,150,3]
[348,157.85001600000001,212.96110000000004,null,365,165.56108,223.35490000000004,null,null,null,null,365,165.56108,107,87,6.7,null,365,165.56108,150,3]
[349,158.303608,213.57250000000002,null,366,166.01467199999999,223.96630000000005,null,null,null,null,366,166.01467199999999,107,87,6.7,null,366,166.01467199999999,150,3]
[350,158.75720000000001,214.18390000000002,null,367,166.468264,224.57770000000002,null,null,null,null,367,166.468264,107,87,6.7,null,367,166.468264,150,3]
[351,159.210792,214.79530000000003,null,368,166.92185599999999,225.18910000000002,null,null,null,null,368,166.92185599999999,107,87,6.7,null,368,166.92185599999999,150,3]
[352,159.66438399999998,215.40670000000003,null,369,167.37544800000001,225.80050000000003,null,null,null,null,369,167.37544800000001,107,87,6.7,null,369,167.37544800000001,150,3]
[353,160.117976,216.01810000000003,null,370,167.82903999999999,226.41190000000003,null,null,null,null,370,167.82903999999999,107,87,6.7,null,370,167.82903999999999,150,3]
[354,160.57156799999998,216.62950000000004,null,371,168.28263200000001,227.02330000000003,null,null,null,null,371,168.28263200000001,107,87,6.7,null,371,168.28263200000001,150,3]
[355,161.02516,217.24090000000004,null,372,168.73622399999999,227.63470000000004,null,null,null,null,372,168.73622399999999,107,87,6.7,null,372,168.73622399999999,150,3]
[356,161.47875199999999,217.85230000000004,null,373,169.18981600000001,228.24610000000004,null,null,null,null,373,169.18981600000001,107,87,6.7,null,373,169.18981600000001,150,3]
[357,161.932344,218.46370000000005,null,374,169.64340799999999,228.85750000000004,null,null,null,null,374,169.64340799999999,107,87,6.7,null,374,169.64340799999999,150,3]
[358,162.38593599999999,219.07510000000002,null,375,170.09700000000001,229.46890000000005,null,null,null,null,375,170.09700000000001,107,87,6.7,null,375,170.09700000000001,150,3]
[359,162.839528,219.68650000000002,null,376,170.55059199999999,230.08030000000002,null,null,null,null,376,170.55059199999999,107,87,6.7,null,376,170.55059199999999,150,3]
[360,163.29311999999999,220.29790000000003,null,377,171.00418400000001,230.69170000000003,null,null,null,null,377,171.00418400000001,107,87,6.7,null,377,171.00418400000001,150,3]
[361,163.746712,220.90930000000003,null,378,171.457776,231.30310000000003,null,null,null,null,378,171.457776,107,87,6.7,null,378,171.457776,150,3]
[362,164.20030399999999,221.52070000000003,null,379,171.91136800000001,231.91450000000003,null,null,null,null,379,171.91136800000001,107,87,6.7,null,379,171.91136800000001,150,3]
[363,164.653896,222.13210000000004,null,380,172.36496,232.52590000000004,null,null,null,null,380,172.36496,107,87,6.7,null,380,172.36496,150,3]
[364,165.10748799999999,222.74350000000004,null,381,172.81855200000001,233.13730000000004,null,null,null,null,381,172.81855200000001,107,87,6.7,null,381,172.81855200000001,150,3]
[365,165.56108,223.35490000000004,null,382,173.272144,233.74870000000004,null,null,null,null,382,173.272144,107,87,6.7,null,382,173.272144,150,3]
[366,166.01467199999999,223.96630000000005,null,383,173.72573600000001,234.36010000000005,null,null,null,null,383,173.72573600000001,107,87,6.7,null,383,173.72573600000001,150,3]
[367,166.468264,224.57770000000002,null,384,{"$f":"E392*0.453592","v":174.179328},234.97150000000002,null,null,null,null,384,174.179328,107,87,6.7,null,384,174.179328,150,3]
[368,166.92185599999999,225.18910000000002,null,385,174.63291999999998,235.58290000000002,null,null,null,null,385,{"$f":"L393*0.453592","v":174.63291999999998},107,87,6.7,null,385,{"$f":"R393*0.453592","v":174.63291999999998},150,3]
[369,167.37544800000001,225.80050000000003,null,386,175.086512,236.19430000000003,null,null,null,null,386,175.086512,107,87,6.7,null,386,175.086512,150,3]
[370,167.82903999999999,226.41190000000003,null,387,175.54010399999999,236.80570000000003,null,null,null,null,387,175.54010399999999,107,87,6.7,null,387,175.54010399999999,150,3]
[371,168.28263200000001,227.02330000000003,null,388,175.993696,237.41710000000003,null,null,null,null,388,175.993696,107,87,6.7,null,388,175.993696,150,3]
[372,168.73622399999999,227.63470000000004,null,389,176.44728799999999,238.02850000000004,null,null,null,null,389,176.44728799999999,107,87,6.7,null,389,176.44728799999999,150,3]
[373,169.18981600000001,228.24610000000004,null,390,176.90088,238.63990000000004,null,null,null,null,390,176.90088,107,87,6.7,null,390,176.90088,150,3]
[374,169.64340799999999,228.85750000000004,null,391,177.35447199999999,239.25130000000004,null,null,null,null,391,177.35447199999999,107,87,6.7,null,391,177.35447199999999,150,3]
[375,170.09700000000001,229.46890000000005,null,392,177.808064,239.86270000000005,null,null,null,null,392,177.808064,107,87,6.7,null,392,177.808064,150,3]
[376,170.55059199999999,230.08030000000002,null,393,178.26165599999999,240.47410000000002,null,null,null,null,393,178.26165599999999,107,87,6.7,null,393,178.26165599999999,150,3]
[377,171.00418400000001,230.69170000000003,null,394,178.715248,241.08550000000002,null,null,null,null,394,178.715248,107,87,6.7,null,394,178.715248,150,3]
[378,171.457776,231.30310000000003,null,395,179.16883999999999,241.69690000000003,null,null,null,null,395,179.16883999999999,107,87,6.7,null,395,179.16883999999999,150,3]
[379,171.91136800000001,231.91450000000003,null,396,179.622432,242.30830000000003,null,null,null,null,396,179.622432,107,87,6.7,null,396,179.622432,150,3]
[380,172.36496,232.52590000000004,null,397,180.07602399999999,242.91970000000003,null,null,null,null,397,180.07602399999999,107,87,6.7,null,397,180.07602399999999,150,3]
[381,172.81855200000001,233.13730000000004,null,398,180.529616,243.53110000000004,null,null,null,null,398,180.529616,107,87,6.7,null,398,180.529616,150,3]
[382,173.272144,233.74870000000004,null,399,180.98320799999999,244.14250000000004,null,null,null,null,399,180.98320799999999,107,87,6.7,null,399,180.98320799999999,150,3]
[383,173.72573600000001,234.36010000000005,null,400,181.43680000000001,244.75390000000004,null,null,null,null,400,181.43680000000001,107,87,6.7,null,400,181.43680000000001,150,3]
[384,174.179328,234.97150000000002]
[385,{"$f":"A410*0.453592","v":174.63291999999998},{"$f":"0.6114*A410+0.1939","v":235.58290000000002}]
[386,175.086512,236.19430000000003]
[387,175.54010399999999,236.80570000000003]
[388,175.993696,237.41710000000003]
[389,176.44728799999999,238.02850000000004]
[390,176.90088,238.63990000000004]
[391,177.35447199999999,239.25130000000004]
[392,177.808064,239.86270000000005]
[393,178.26165599999999,240.47410000000002]
[394,178.715248,241.08550000000002]
[395,179.16883999999999,241.69690000000003]
[396,179.622432,242.30830000000003]
[397,180.07602399999999,242.91970000000003]
[398,180.529616,243.53110000000004]
[399,180.98320799999999,244.14250000000004]
[400,181.43680000000001,244.75390000000004]

{"sheet":"mappings","index":7,"n_rows":102,"n_cols":9,"rows_kept":102,"cut":false,"hidden":false,"merged":[]}
["ranges for each LUT from weight2Volume sheet",null,null,null,null,null,null,"do not edit this column, it is where you link protocols/types with LUT numbers"]
["LUT #","Range","Strength","break point in time (seconds) where volume and rate level off (only populate this field for angio protocols with angio flag = 1)","min time (seconds)below which volume is fixed (only populate if angio flag = 1)",null,null,"Protocol Names/types","LUT #"]
[1,"weight2Volume!b25:c425",300,null,null,null,null,{"$f":"Protocols!A6","v":"Weight Based Routine Adult"},1]
[2,"weight2Volume!f8:g408",300,null,null,null,null,{"$f":"Protocols!A7","v":"Weight Based Routine Ped"},2]
[3,"weight2Volume!i8:j208",370,null,null,null,null,{"$f":"Protocols!A8","v":"Weight Based Angio"},4]
[4,"weight2Volume!m8:p408",350,12,7,null,null,{"$f":"Protocols!A9","v":"U Washington Abdomen"},5]
[5,"weight2Volume!s8:u408",350,null,null,null,null,{"$f":"Protocols!A10","v":0}]
[6,null,null,null,null,null,null,{"$f":"Protocols!A11","v":0}]
[7,null,null,null,null,null,null,{"$f":"Protocols!A12","v":0}]
[8,null,null,null,null,null,null,{"$f":"Protocols!A13","v":0}]
[9,null,null,null,null,null,null,{"$f":"Protocols!A14","v":0}]
[10,null,null,null,null,null,null,{"$f":"Protocols!A15","v":0}]
[11,null,null,null,null,null,null,{"$f":"Protocols!A16","v":0}]
[12,null,null,null,null,null,null,{"$f":"Protocols!A17","v":0}]
[13,null,null,null,null,null,null,{"$f":"Protocols!A18","v":0}]
[14,null,null,null,null,null,null,{"$f":"Protocols!A19","v":0}]
[15,null,null,null,null,null,null,{"$f":"Protocols!A20","v":0}]
[16,null,null,null,null,null,null,{"$f":"Protocols!A21","v":0}]
[17,null,null,null,null,null,null,{"$f":"Protocols!A22","v":0}]
[18,null,null,null,null,null,null,{"$f":"Protocols!A23","v":0}]
[19,null,null,null,null,null,null,{"$f":"Protocols!A24","v":0}]
[20,null,null,null,null,null,null,{"$f":"Protocols!A25","v":0}]
[21,null,null,null,null,null,null,{"$f":"Protocols!A26","v":0}]
[22,null,null,null,null,null,null,{"$f":"Protocols!A27","v":0}]
[23,null,null,null,null,null,null,{"$f":"Protocols!A28","v":0}]
[24,null,null,null,null,null,null,{"$f":"Protocols!A29","v":0}]
[25,null,null,null,null,null,null,{"$f":"Protocols!A30","v":0}]
[26,null,null,null,null,null,null,{"$f":"Protocols!A31","v":0}]
[27,null,null,null,null,null,null,{"$f":"Protocols!A32","v":0}]
[28,null,null,null,null,null,null,{"$f":"Protocols!A33","v":0}]
[29,null,null,null,null,null,null,{"$f":"Protocols!A34","v":0}]
[30,null,null,null,null,null,null,{"$f":"Protocols!A35","v":0}]
[31,null,null,null,null,null,null,{"$f":"Protocols!A36","v":0}]
[32,null,null,null,null,null,null,{"$f":"Protocols!A37","v":0}]
[33,null,null,null,null,null,null,{"$f":"Protocols!A38","v":0}]
[34,null,null,null,null,null,null,{"$f":"Protocols!A39","v":0}]
[35,null,null,null,null,null,null,{"$f":"Protocols!A40","v":0}]
[36,null,null,null,null,null,null,{"$f":"Protocols!A41","v":0}]
[37,null,null,null,null,null,null,{"$f":"Protocols!A42","v":0}]
[38,null,null,null,null,null,null,{"$f":"Protocols!A43","v":0}]
[39,null,null,null,null,null,null,{"$f":"Protocols!A44","v":0}]
[40,null,null,null,null,null,null,{"$f":"Protocols!A45","v":0}]
[41,null,null,null,null,null,null,{"$f":"Protocols!A46","v":0}]
[42,null,null,null,null,null,null,{"$f":"Protocols!A47","v":0}]
[43,null,null,null,null,null,null,{"$f":"Protocols!A48","v":0}]
[44,null,null,null,null,null,null,{"$f":"Protocols!A49","v":0}]
[45,null,null,null,null,null,null,{"$f":"Protocols!A50","v":0}]
[46,null,null,null,null,null,null,{"$f":"Protocols!A51","v":0}]
[47,null,null,null,null,null,null,{"$f":"Protocols!A52","v":0}]
[48,null,null,null,null,null,null,{"$f":"Protocols!A53","v":0}]
[49,null,null,null,null,null,null,{"$f":"Protocols!A54","v":0}]
[50,null,null,null,null,null,null,{"$f":"Protocols!A55","v":0}]
[51,null,null,null,null,null,null,{"$f":"Protocols!A56","v":0}]
[52,null,null,null,null,null,null,{"$f":"Protocols!A57","v":0}]
[53,null,null,null,null,null,null,{"$f":"Protocols!A58","v":0}]
[54,null,null,null,null,null,null,{"$f":"Protocols!A59","v":0}]
[55,null,null,null,null,null,null,{"$f":"Protocols!A60","v":0}]
[56,null,null,null,null,null,null,{"$f":"Protocols!A61","v":0}]
[57,null,null,null,null,null,null,{"$f":"Protocols!A62","v":0}]
[58,null,null,null,null,null,null,{"$f":"Protocols!A63","v":0}]
[59,null,null,null,null,null,null,{"$f":"Protocols!A64","v":0}]
[60,null,null,null,null,null,null,{"$f":"Protocols!A65","v":0}]
[61,null,null,null,null,null,null,{"$f":"Protocols!A66","v":0}]
[62,null,null,null,null,null,null,{"$f":"Protocols!A67","v":0}]
[63,null,null,null,null,null,null,{"$f":"Protocols!A68","v":0}]
[64,null,null,null,null,null,null,{"$f":"Protocols!A69","v":0}]
[65,null,null,null,null,null,null,{"$f":"Protocols!A70","v":0}]
[66,null,null,null,null,null,null,{"$f":"Protocols!A71","v":0}]
[67,null,null,null,null,null,null,{"$f":"Protocols!A72","v":0}]
[68,null,null,null,null,null,null,{"$f":"Protocols!A73","v":0}]
[69,null,null,null,null,null,null,{"$f":"Protocols!A74","v":0}]
[70,null,null,null,null,null,null,{"$f":"Protocols!A75","v":0}]
[71,null,null,null,null,null,null,{"$f":"Protocols!A76","v":0}]
[72,null,null,null,null,null,null,{"$f":"Protocols!A77","v":0}]
[73,null,null,null,null,null,null,{"$f":"Protocols!A78","v":0}]
[74,null,null,null,null,null,null,{"$f":"Protocols!A79","v":0}]
[75,null,null,null,null,null,null,{"$f":"Protocols!A80","v":0}]
[76,null,null,null,null,null,null,{"$f":"Protocols!A81","v":0}]
[77,null,null,null,null,null,null,{"$f":"Protocols!A82","v":0}]
[78,null,null,null,null,null,null,{"$f":"Protocols!A83","v":0}]
[79,null,null,null,null,null,null,{"$f":"Protocols!A84","v":0}]
[80,null,null,null,null,null,null,{"$f":"Protocols!A85","v":0}]
[81,null,null,null,null,null,null,{"$f":"Protocols!A86","v":0}]
[82,null,null,null,null,null,null,{"$f":"Protocols!A87","v":0}]
[83,null,null,null,null,null,null,{"$f":"Protocols!A88","v":0}]
[84,null,null,null,null,null,null,{"$f":"Protocols!A89","v":0}]
[85,null,null,null,null,null,null,{"$f":"Protocols!A90","v":0}]
[86,null,null,null,null,null,null,{"$f":"Protocols!A91","v":0}]
[87,null,null,null,null,null,null,{"$f":"Protocols!A92","v":0}]
[88,null,null,null,null,null,null,{"$f":"Protocols!A93","v":0}]
[89,null,null,null,null,null,null,{"$f":"Protocols!A94","v":0}]
[90,null,null,null,null,null,null,{"$f":"Protocols!A95","v":0}]
[91,null,null,null,null,null,null,{"$f":"Protocols!A96","v":0}]
[92,null,null,null,null,null,null,{"$f":"Protocols!A97","v":0}]
[93,null,null,null,null,null,null,{"$f":"Protocols!A98","v":0}]
[94,null,null,null,null,null,null,{"$f":"Protocols!A99","v":0}]
[95,null,null,null,null,null,null,{"$f":"Protocols!A100","v":0}]
[96,null,null,null,null,null,null,{"$f":"Protocols!A101","v":0}]
[97,null,null,null,null,null,null,{"$f":"Protocols!A102","v":0}]
[98,null,null,null,null,null,null,{"$f":"Protocols!A103","v":0}]
[99,null,null,null,null,null,null,{"$f":"Protocols!A104","v":0}]
[100,null,null,null,null,null,null,{"$f":"Protocols!A105","v":0}]

{"sheet":"about","index":8,"n_rows":10,"n_cols":2,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"need a formal page here for public release"]
[]
[]
[null,"a tim stick production"]
[null,"Megan Lipford, Sean Rose "]
[null,"Carrie Bartels"]
[]
[null,"thanks \"Meghan's\" husband for the ped images!"]